6.	17/0192/FUL - Demolition of existing buildings and erection of a single storey industrial building to provide builder’s merchant (sui generis) including plant and tool hire and outside display and storage (including racking system); erection of a part three, part four storey 92 bed hotel (Class C1); associated alterations to car parking; closure of existing access and construction of new access to roundabout; installation of electricity sub-station; refuse storage area for boaters; and associated landscaping, means of enclosure and associated works at CHURCH WHARF, CHURCH STREET, RICKMANSWORTH, HERTFORDSHIRE, WD3 1JB for H20 URBAN (no.2) LLP

(DCES)

| Parish: Batchworth | Ward: Rickmansworth Town |
| --- | --- |
| Expiry Statutory Period: 3 May 2017 (extension of time to 15 June 2017) | Officer: Joanna Bowyer |
| Recommendation: That planning permission is granted subject to conditions. |  |
| This application is brought before the Committee as a Councillor is a neighbour. |  |

An issues report was considered at the Planning Committee meeting on 23 March 2017 where the Committee noted the report and made comments with regard to material planning considerations raised by the application.

Following the meeting, additional information has been provided by the applicant in relation to flood risk, drainage, and transport, and amended plans have been submitted to provide additional parking, address overlooking and to amend the boundary treatment and materials proposed.

The Committee also requested a site visit which took place on 13 May 2017.

1.	Relevant Planning History

  - 8/21A/91 - Erection of six non-illuminated signs – Permitted 06.07.92.

  - 8/350/91 - Retention of store – Permitted 19.09.91.

  - 8/643/93 – Demolition of outbuildings, new access and proposed fence/dwarf wall - Permitted 15.11.93.

  - 8/807/93 - Single storey extension – Permitted 24.01.94.

  - 97/0213 - Alterations to include new roller shutter doors, cladding and fire exit doors – Permitted 15.05.97.

  - 02/01568/ADV - Advert consent: Display of one advertisement flag – Permitted 04.02.03.

  - 02/01580/FUL - Erection of one flag pole – Permitted 06.02.03.

  - 15/2581/PREAPP - Demolition of existing buildings and erection of a single storey industrial building (1031 sqm GIA); erection of a three storey 88 bed hotel (3001 sqm GIA); installation of electricity sub-station; reconfigured and enlarged car parking and associated car parking and landscaping – Closed 14.01.16.

  - 16/1250/PREAPP - Demolition of existing buildings and erection of a single storey industrial building (1092sqm GIA); erection of a three/four storey 92 bed hotel (528sqm GIA); installation of electricity sub-station; reconfigured and enlarged car parking and associated car parking and landscaping – Closed 29.07.16.

2.	Site Description

  - The application site is to the east of Church Street and the Batchworth Roundabout, Rickmansworth, at the south of Rickmansworth Town Centre. The main part of the application site has an area of approximately 0.86ha and is currently in use as a builder’s merchant, occupied by Travis Perkins. With the exception of a small area to the south west of the site, the site falls within flood zone 2, and there are small parts of the site along the southern boundary which are also within flood zone 3a.

  - The site is predominantly hardstanding with a vehicular access from the Batchworth Roundabout at the north west of the site. This access serves customer parking for the builder’s merchant on the western part of the site, and runs along the north boundary of the site to provide access for deliveries at the eastern part of the site. Parking currently takes place to either side of this access.

  - There is open storage of materials across the site, as well as a number of buildings. Closest to the north boundary of the site is a brick finished building with a double pitched roof form in use as offices and a shop. To the south east of this is a pitched roof storage building finished in metal cladding and to the rear of these are varied metal clad storage buildings.

  - At the north east corner of the site to the north of the delivery access is an area of parking for boaters and allotment holders which is fenced with low level railings.

  - The River Chess runs to the east and south boundaries of the site with the Grand Union Canal and Batchworth Lock to the south of this. To the north of the site are the Ebury Way and St Marys Court, a flatted residential development with the Chess Basin to the north east providing residential moorings. To the boundaries of the site are a number of mature trees, wire mesh and metal palisade fencing with close boarded fencing to the west site boundary.

  - The boundary of the Rickmansworth Town Centre Conservation Area is approximately 40m to the north east of the site to the other side of Church Street and the Batchworth Roundabout. Batchworth Lock House at 99 Church Street to the south of the site is a Grade II Listed Building.

  - At the east and part of the south boundary of the site the River Chess forms the boundary of the Green Belt.

3.	Description of Proposed Development

  - This application seeks full planning permission for demolition of the existing buildings on the site and for erection of a single storey industrial building to provide a builder’s merchant (sui generis) including plant and tool hire and outside display and storage (including racking system); erection of a part three, part four storey 92 bed hotel (Class C1); associated alterations to car parking; closure of existing access and construction of new access to roundabout; installation of electricity sub-station; refuse storage area for boaters; and associated landscaping, means of enclosure and associated works.

  - The existing structures on the main part of the site would be demolished. To the northern part of the site would be a replacement industrial building to provide a builder’s merchant which is intended to accommodate Travis Perkins, while to the southern part of the site would be a hotel.

  - The site would be split by a new access road which is proposed to run from a replacement junction arm from the Batchworth Roundabout, east across the site to connect to the access road onto the drawbridge to the north east of the site.

  - The builder’s merchant building would be set approximately 22-30m from the north west boundary of the site with Batchworth Roundabout and would be set in 2-3m from the north site boundary. It would have a rectangular footprint 64.5m by 17.1m though there would also be a flat roof canopy to the entrance at the south of the building which would project 1.5m. The building is shown to have a pitched roof form with a maximum height of 9.9m and an eaves height of 6.4m. It would be finished in a wooden cladding system and steel faced wall panels which would be green in colour, with insulated steel roof panels and yellow doors and roller shutters. There would be rooflights to the roof slope, and windows to the western part of the north west elevation. A fire escape is indicated to the north west of the building which would serve a partial mezzanine level at the west part of the building. Potential signage is indicated to the south and west elevations of the building and to the west of the site, although this does not form part of the current application.

  - Boundary treatment is proposed around the site of the industrial building comprising 2.4m high steel railings to the west, 2.4m high green paladin mesh fence to the access road and north and 2.4m high close boarded fencing to the north east. A 1m wide hedge is also proposed to part of the north boundary within the site. The site would be accessed from the proposed site road with gated pedestrian and vehicle entrances towards the west and a gated exit at the east of the site.

  - To the east of the building would be a loading bay while along the south east of the building would be parking for 14 vehicles including one disabled bay, with four further bays to the south of these. Four further staff parking bays and storage for a minimum of four cycles are indicated within a compound to the west of the building which would also include a tool hire compound enclosed by 3m high palisade fencing. Outside storage of up to 5m in height is shown to the east of the building and to the north of the access road, with external racking up to 5m high.

  - The hotel would be to the south of the proposed access road and would be set back approximately 40m from the west boundary of the site with Batchworth Roundabout and would be set in between 6.6m and 12.4m from the south site boundary. It would broadly have a shallow ‘v-shaped’ footprint to reflect the curved southern boundary of the site, with a section to the west which would have a ground floor footprint of approximately 37m (east to west) by up to 16.3m (north to south), and a section to the east of this set at a 25 degree angle which would be approximately 28m (south west to north east) by 14.5m (north to south). The third floor level would be reduced to be set in 9.9m from the west elevation and 3.8m from the east. For the most part, the development would be four-storeys in height with flat roofs at a height of 13.4m and 12.6m, with pitched roof forms up to 12.2m high to the lower east and west sections.

  - The hotel would be finished in dark facing brick, smooth white render, timber louvres and zinc standing seam cladding, with timber cladding above the entrance. Fenestration is proposed to all elevations. Angled timber louvres would be provided to the eight easternmost windows of the south elevation at each of the first and second floor levels, and to the seven easternmost windows at third floor level.

  - The main entrance to the hotel would be at the north and the ground floor level would accommodate a reception, restaurant, kitchen and servicing areas and 13 bedrooms. There would be 29 bedrooms to each of the first and second floor levels and 21 bedrooms at third floor level. Ten of the 92 bedrooms are to be larger DDA rooms.

  - There would be parking for 60 vehicles around the hotel building accessed from the main site access road with an entrance towards the east and a one-way route through to an exit back onto the main access at the west. Adjacent to the south site boundary would be three cycle shelters, and condenser units are proposed to the east and west of the hotel.

  - To the south boundary of the site would be 1.8m high steel railing and 0.45m high post and rail fencing, with 0.45m high post and rail fencing to the west and north.

  - A substation and bin store to serve boaters are proposed to the east part of the site. The substation would have a rectangular footprint 5.2m by 4.25m. It would have a flat roof 2.5m high and would have sliding doors to the north elevation. 1.8m high black steel railings would enclose the bin store to the east with access gates provided from the site road at the north west.

  - Amended plans submitted during the course of the application have altered the boundary of the builders’ yard site to improve visibility from the site exit; provided additional parking to serve the hotel; altered the layout of parking within the site; altered the boundary treatment proposed to the southern site boundary; and have amended the materials to omit initially proposed purple window reveals; and have provided additional louvre window treatments. Additional information has also been submitted in relation to flood risk, drainage, parking and access.

4.	Consultation

4.1	Statutory Consultation

    - Affinity Water [no objection]: Thank you for notification of the above planning application. Planning applications are referred to us where our input on issues relating to water quality or quantity may be required.

You should be aware that the proposed development site is located close to or within an Environment Agency defined groundwater Source Protection Zone (GPZ) corresponding to Batchworth Pumping Station. This is a public water supply, comprising a number of Chalk abstraction boreholes, operated by Affinity Water Ltd.

The construction works and operation of the proposed development site should be done in accordance with the relevant British Standards and Best Management Practices, thereby significantly reducing the groundwater pollution risk. It should be noted that the construction works may exacerbate any existing pollution. If any pollution is found at the site then the appropriate monitoring and remediation methods will need to be undertaken.

For further information we refer you to CIRIA Publication C532 "Control of water pollution from construction - guidance for consultants and contractors".

    - Canal and River Trust [No objection, conditions requested]: The Trust has reviewed the application. This is our substantive response under the Town and Country Planning (Development Management Procedure) (England) Order 2015.

The main issues relevant to the Trust as statutory consultee on this application are the impact on the biodiversity of the River Chess and Grand Union Canal as a result of;

a) pollution or contamination of the waterway corridor during demolition and construction phase

b) light pollution

c) landscaping

On the basis of the information available our advice is that suitably worded conditions are necessary to address these matters. Our advice and comments are detailed below.

Light pollution & ecological enhancement

The application as submitted does not provide details of the proposed lighting for the car parking and hotel amenity areas. The findings of the Bat surveys indicate that small numbers of commuting bats cross the Site to travel between the surrounding tree lines and the river; and larger numbers of bats commute and forage along these features. As a result, mitigation and enhancement measures are recommended to prevent undue disturbance to bats. This includes the use of suitable directional, low level lighting and the provision of bat boxes and bricks within the buildings along with suitable landscaping.

However, we suggest that the provision of further details on this matter is not necessary prior to determination, and we would suggest that it is capable of being controlled via a suitably worded planning condition, which reserves these detailed design matters for subsequent approval.

Water pollution

Due to the previous use of the land the presence of asbestos in the existing buildings on site measures should be taken to ensure that the river and canal are not polluted during the demolition and construction phases.

Though the Canal and River Chess are not listed as one of the potential receptors of any contaminants pollution can occur as a result of spillages, groundwater contamination and windblown pollution.

Measures should be taken to prevent waste materials such as asbestos and dust etc. from polluting the canal and the river and further detail should be provided as part of a Construction Environmental Management Plan. We suggest that this information is provided prior to determination, to ensure that no pollution or contamination takes places during the demolition, site remediation or construction stages.

Landscaping

The landscaping along the river (mixes 3 & 4) should be reconsidered to provide taller, less domesticated species to help screen car parking and be more in keeping with its riverside location. Alternatively, a mixed native hedgerow could be more appropriate allowing more domesticated planting within the development site.

However, we suggest that the provision of further details on this matter is not necessary prior to determination, and we would suggest that it is capable of being controlled via a suitably worded planning condition, which reserves these detailed design matters for subsequent approval.

Other issues

For information, we advise that the Canal & River Trust is working with applicant H2O (No. 2) LLP on this proposal. In view of our significant interest and involvement in the proposal to date, most matters of relevance to us as a statutory consultee have been addressed in the detail of the scheme.

Conditions

1. Details of a construction management plan, including methods of protecting the waterway infrastructure during construction of the development shall be submitted to and agreed in writing by the Local Planning Authority and thereafter implemented in accordance with the agreed details unless otherwise agreed in writing prior to commencement.

Reason: to comply with Policy DM9 of the adopted Local Plan and paragraph 120 of the National Planning Policy Framework as The ecological environment in this location is sensitive and should be protected from disturbance, dust, run off, waste etc. entering the canal.

Other conditions

2. Notwithstanding the submitted details, further details of the landscaping along the boundary with the River Chess shall be submitted to and agreed in writing by the Local Planning Authority. The scheme shall indicate the size, species and spacing of planting. Any such planting which within a period of 5 years of implementation of the landscaping die, removed, or become seriously damaged or diseased shall be replaced in the next planting season with others of a similar size or species, unless the Local Planning Authority gives written consent to the variation. The approved scheme shall be fully implemented prior to the first occupation of the hotel. No additional trees shall be planted within 5 metres of the waterway.

Reason: To comply with adopted Policy DM6 of the adopted Local Plan and paragraph 58 of the National Planning Policy Framework to improve the appearance of the site when viewed from the waterside and to enhance the biodiversity of an area. Landscaping also has the potential to impact on the integrity of the waterway and it is necessary to assess this and determine future maintenance responsibilities for the planting. Landscaping affects how the waterway is perceived and any trees within 5 metres of the waterway may have the potential to impact on the structural integrity of the waterway structure.

3. Notwithstanding the plans submitted prior to the commencement of development details of the proposed lighting for the development shall be submitted to and approved in writing by the Local Planning Authority and thereafter implemented in accordance with the agreed details unless otherwise agreed in writing.

Reason: To comply with Policy DM9 of the adopted Local Plan and paragraph 125 of the National planning policy framework as the lighting at waterside developments should be designed to minimise the problems of glare, show consideration for bats and unnecessary light pollution should be avoided by ensuring that the level of luminance is appropriate for the location, is sustainable and efficient, and protect the integrity of the waterway infrastructure.

Informative

Should planning permission be granted we request that the following informative is appended to the decision notice:

The Developer is advised to contact the Canal & River Trusts’ Third Party Works Engineer on 01908 302 591 in order to ensure that the proposal complies with the Trusts’ Code of Practice for Works affecting a waterway’.

For the Trust to effectively monitor our role as a statutory consultee, please send me a copy of the decision notice and the requirements of any planning obligation.

    - Conservation Officer [no objection]: This site is adjacent to the Rickmansworth Conservation Area and adjacent to a listed building at Batchworth Lock. It is proposed to rebuild one building and build a further new building on a large site.

It is therefore appraised against Policies CP1 and CP12 of the Core Strategy (adopted October 2011) and policy DM3 of the Development Management Policies LDD (adopted July 2013). Other national conservation policies are also relevant to consider such as the Planning (Listed Building & Conservation Areas) Act 1990 and the National Planning Policy Framework (NPPF).

DM3 says the Council will only support applications which do not harm the setting of either listed buildings or conservation areas. CP12 says the Council will seek a high standard of design and that proposals should have regard to the local context (including heritage assets).

I consider that this proposal will be low-key in the street-scene and therefore does not harm the setting of the listed building and the adjacent conservation area and is therefore in accordance with these policies. This space is currently mainly open and the new building will have no impact on either the setting of the adjacent Conservation Area or the adjacent Listed Building.

I consider that this proposal is acceptable from the conservation area setting and listed building setting point of view.

    - Economic and Sustainable Development Officer: No response received.

    - Environmental Health Officer: No response received.

    - Environmental Protection: No response received.

    - Environment Agency [initial objection, removed following further information]: Thank you for consulting us on this application. In the absence of an acceptable Flood Risk Assessment (FRA) we object to the grant of planning permission and recommend refusal on this basis for the following reasons:

Reason The submitted FRA fails to correctly calculate the design flood level, as it uses the outdated 20% climate change allowance in calculations as opposed to the new climate change allowances. As a result, an assessment of the access/egress routes and safety of the development for its lifetime cannot be made as the correct design flood levels have not been used.

As the flood risk vulnerability classification of the development is ‘more vulnerable’ we would expect both the higher central (35%) and upper (70%) climate change allowances to be assessed for safety reasons, but with only the 35% being designed to. Due to the size and vulnerability of the proposed development, we would expect an intermediate approach to be adopted. In this instance we would expect the climate change allowances to be calculated, using existing modelled flood and flow data to construct a stage-discharge rating curve, showing their calculations. This can be used to interpolate a flood level based on the required peak flow allowance to apply to the ‘design flood’ flow.

This objection is in line with your local plan policy DM8: Flood Risk and Water Resources.

Resolution You can overcome our objection by submitting an FRA which covers the deficiencies highlighted above and demonstrates that the development will not increase risk elsewhere and where possible reduces flood risk overall. If this cannot be achieved we are likely to maintain our objection to the application.

Production of an FRA will not in itself result in the removal of an objection.

Further information regarding the revised climate change allowances can be found on our website:

https://www.gov.uk/guidance/flood-risk-assessments-climate-change-allowances

Informative Under the terms of the Water Resources Act 1991, and the Thames Land Drainage Byelaws 1981, the prior consent of the Environment Agency is required for any proposed works or structures, in, under, over or within 8 metres of the top of the bank of the River Chess, designated a ‘main river’. From 6th April 2016, the Flood Defence Consent regime moved into the Environmental Permitting Regulations to become Flood Risk Activity Permits. The charges for the new Permits are different and some lower risk activities may be Excluded or Exempt from the Permitting Regulations. Please contact us for more details.

Environment Agency Further Comments: Thank you for consulting us with the additional information we are now in a position to remove our objection on flood risk safety grounds, but would recommend that finished floor levels for the proposed development are set, ideally 300 millimetres above the 1 in 100 chance in any year including a 35% allowance for climate change flood level.

You are the competent authority on matters of evacuation or rescue, and therefore should assess the adequacy of the evacuation arrangements, including the safety of the route of access/egress from the site in a flood event or information in relation to signage, underwater hazards or any other particular requirements. You should consult your emergency planners as you make this assessment.

Informative Under the terms of the Water Resources Act 1991, and the Thames Land Drainage Byelaws 1981, the prior consent of the Environment Agency is required for any proposed works or structures, in, under, over or within 8 metres of the top of the bank of the River Chess, designated a ‘main river’. From 6th April 2016, the Flood Defence Consent regime moved into the Environmental Permitting Regulations to become Flood Risk Activity Permits. The charges for the new Permits are different and some lower risk activities may be Excluded or Exempt from the Permitting Regulations. Please contact us for more details.

    - Hertfordshire and Middlesex Wildlife Trust [Advisory comments]: Policy DM8 of the Three Rivers District Council Development Management Policies Local Development document states:

'i) Development should normally be set back from a main river (as defined by the Environment Agency) with a minimum 8m wide buffer zone and from any other watercourse with a minimum 5m wide buffer zone to prevent any significant impact from flooding.'

This site is adjacent to a main river. It has not been made clear whether an 8m margin has been provided. The current footprint does not appear to be consistent with this margin. This development has the potential to redress this deficiency, provide an enhanced buffer and habitat for riverine biodiversity and to help screen light pollution from the river. The views of the Environment Agency should be sought requiring the need for this buffer.

Irrespective of the requirement for an 8m buffer, planting proposals adjacent to the river should consist of appropriate native species to maximise ecological gains. The landscape plans should be adapted to reflect this.

    - Hertfordshire Constabulary Crime Prevention Design Advisor [No objection, condition requested]: As regards designing out crime for the new Travis Perkins site, I leave that to them to sort out for their specific needs.  Therefore my comments below relate to the proposed Premier Inn site.

- Crime Risk:  Having checked the types of crime that occur at some Premier Inn Hotel sites, with Hertfordshire, the crime risk for such sites and common crime reported to police on a regular basis are:  theft from customers vehicles parked on site; assault and abuse to staff by customers; assault between customers.  It will therefore be important to design out crime as far as practical, and if it does occur that there is evidence to prosecute offenders.

- Rear boundary next to River Chess:  This is shown as 2.4m high round steel bar railing for section either end of the rear boundary and for a section mid-way along as 450mm high bird’s mouth timber post and rail, with some low planting behind.  Such a mixed boundary will provide an easy escape route for offenders wishing to break into customer vehicles parked on site.   Also the 2.4m high railing fence seems to be a bit dominant.  I am therefore against this boundary treatment as it is at present.

Suggested rear boundary treatment:  I would ask for an open top railing fence running the full length of the boundary between the River Chess footpath and the rear boundary of the hotel.  Such a fence would only need to be 1.6m high if open topped, would allow for good natural surveillance of the footpath from the hotel as well as securing the rear boundary and reducing the opportunity for crime. Being open topped if anyone tried to climb over they would be likely to rip their trousers, which is why I am content with a height of 1.6m.

- CCTV:  To help deter crime, as well as providing some assistance for staff to have control of the site, it will be important for the site to have CCTV coverage.  Minimum CCTV coverage must be:

  - Externally such CCTV to cover the cycle parking and all the vehicle parking areas on site.

  - Internally such CCTV to cover the main entrance to record who enters and leaves, all other entrances and exits even if they are only Fire Exits, the hotel reception area and bar area, as well as along each landing.

I therefore request a condition for CCTV:

Condition for CCTV

No development shall take place within the application area for the hotel, until the applicant has undertaken to install CCTV to the following standards,

    - CCTV cameras:

      - CCTV cameras to cover all external cycle parking areas as well as all vehicle parking areas, and the vehicle entrance and exit.

      - CCTV cameras to cover the vehicle parking area to a general observation category. (So as to deter crime in this area)

    - CCTV system

      - Such CCTV recording medium must be a DVD best quality digital system that records for a minimum of 31 days before overwriting; the recording system that will be installed has its own software for playing back the CCTV on the DVD disk (that software needs to go on each playback disc, so that it is possible to replay the disc immediately).  That CCTV cameras record at a minimum frame rate of 8 frames per second (FPS) or higher.  Whilst the minimum frame rate of 8 frames per second is quoted, it may need to be higher to capture driving through the field of view (FOV) of the camera at the vehicle entrance and exit and may need to increase to 12 FPS.

      - The CCTV system should have a clock and date that are displayed on any clip viewed.  The system clock and date should be set correctly and maintained (taking account of GMT and BST).  When images are downloaded onto a disc or other medium for police purposes, it needs to be with the time and date integral to the relevant picture.

      - The CCTV storage system should be operated and recorded pictures retained in a secure area.

      - The playback software should have: variable speed control including frame by frame, forward and reverse viewing; be able to display single and multiple cameras and maintain aspect ratio (i.e., the same relative height and width); be able to display a single camera at full resolution; permit the recording from each camera to be searched by time and date.

Reason: To help deter crime and Anti-Social Behaviour as well as helping in the detection and prosecution of offenders, thus making the proposed development safer for members of the public.

Conclusion:  If the rear boundary were adjusted as above and the CCTV were conditioned I would be content.

I hope the above is of use to you in your deliberations and will help the development achieve that aims of the National Planning Policy Framework (NPPF).

- 69 – re safe and accessible environments where crime and disorder, and the fear of crime, do not undermine quality of life or community cohesion.

& the National Planning Practice Guidance (NPPG) under ‘Design’

- 010 – re Sec 17 of the Crime and Disorder Act 1998 – to prevent crime & disorder.

- 011 – re taking proportionate security measures being a central consideration to the planning and delivery of new developments and substantive retrofits.

And CP1 and CP12 of Three Rivers Core Strategy.

    - Hertfordshire County Council Archaeology [no objection]: This office commented on a similar proposal in 2016 (15/2581/PREAPP) concluding that that proposed development was likely to impact on heritage assets and recommending archaeological conditions, specifically a field evaluation.  However, new data submitted with the present proposal (17/0192/FUL) has better informed our decision.  Specifically, a Ground Investigation Report (RSA Geotechnics Ltd 2016), which used various techniques such as boreholes and test pits to intrusively investigate the ground across the site, concluded that made ground was present to a maximum depth of 3.9m and an average depth of 2.0m across the proposed development site.  This report also stated that the area had been extensively quarried for gravel in the late 19th century – the extent of this is apparent on the 2nd (1898) and 3rd edition (1914) Ordnance Survey maps, where it appears as a pond.  The proposed development is almost completely within the area of this probable quarrying and/or the footprint of the previous building on site.

An archaeological desk-based assessment (DBA) was also submitted with this application (TVAS 2016).  This concludes that below-ground archaeological remains on the site are likely to have been destroyed or disturbed.

Therefore, in this instance, the development is unlikely to have a significant impact on heritage assets of archaeological interest, and I have no comment to make upon the proposal.

    - Hertfordshire County Council Flood Risk and Water Management [initial objection, overcome following submission of additional information subject to conditions]: We understand this application seeks full planning permission for a major development, and we are happy to find the Flood Risk Assessment prepared by Ramboll Environ (project no. UK14-22871, dated December 2016) and Drainage Strategy Statement prepared by Conisbee (reference no. 140060/DW, dated 2 December 2016, version 1.1) in support to this application. However this does not provide a suitable basis for assessment to be made of the flood risks arising from the proposed development.

We therefore object to the grant of planning permission and recommend refusal on this basis for the following reasons.

As a Flood Risk Assessment is required under the NPPF for all Major Planning Applications as amended within the NPPG from the 6 April 2015, in order for us to advise the Local Planning Authority that there is no flood risk from surface water, it should include as a minimum:

- Where infiltration is proposed, evidence of ground conditions and permeability including BRE Digest infiltration tests should be provided.

- Updated initial post development modelling in relation to surface water are to be carried out for all rainfall events up to and including the 1 in 100 years including an allowance for climate change ( no informal flooding to occur below and including the 1 in 30 year rainfall return period).

- All detailed drawings to be ‘final drawings’ not ‘preliminary’ or ‘draft’.

- Confirmation of assumed outflow to River Chess and agreement from the Environmental Agency to continue discharge.

- Details of required maintenance of any SuDS features and structures and who will be adopting these features for the lifetime of the development.

Overcoming our objection

- We note that the proposal is based on infiltration as a preliminary stage. We also acknowledge that infiltration rate was estimated from borehole records. However to confirm this statement we require BRE Digest 365 infiltration tests, which should be attached to the application as a full evidence of the suitability of the proposal.

- We note that the proposed scheme is based on SuDS features like permeable concrete, rain gardens and gullies. We acknowledge surface water drainage calculations as evidence to support the proposed drainage strategy. These are required to ensure that site has the capacity for all rainfall events up to and including the 1 in 100 year plus climate change event and ensure there is no increase flood risk.

We also acknowledge attenuation volume calculations taking into account just hardstanding area (8,059m2). Surface water modelling and calculations should take account of the whole site area not just impermeable areas. The runoff rates that are generated by the whole site should be provided. This should include all rainfall events up to and including the 1 in 100 year + climate change event. Permeable areas will generate runoff at Greenfield rates, and it will need to be conveyed by the proposed drainage scheme therefore the required attenuation volumes and run-off rates should reflect this.

We note discharge of the run-off from the site will be limited to greenfield run-off rate equal 7.8l/s. We would like to know how the applicant wants to limit the discharge and we require a detailed layout drawing including location of this feature.

If there will be informal flooding within the site, these areas need to be identified on a development layout plan, showing the extent and depth of the flooding and under what rainfall event the flooding will occur. No flooding should occur at and below the 1 in 30 year rainfall event. We require a clarification that any flooding above this can be managed within the site without increasing flood risk to the proposed properties and the surrounding area. Both the 1 in 100 year and the 1 in 100 year + climate change extents, depths and volumes should be established.

- As part of a detailed planning application we would expect to review detailed design and engineering drawings for the system and each component of SuDS scheme.

- We note that existing outfall will be used to discharge to the River Chess. However we require a confirmation of permission from Environmental Agency that they are satisfied with the proposed rates and volumes of discharge to the River Chess. We require that the following should be provided upfront prior to the approval of planning permission upfront to ensure that the proposed scheme is feasible. An agreement in principle rather than a formal permission at this stage would be acceptable.

- The applicant will need to satisfy the LPA that the proposed drainage scheme can be adopted and maintained for its lifetime by providing a maintenance plan, detailing key operations (including replacement if required) and management.

For further advice on what we expect to be contained within the surface water drainage assessment, please refer to our Developers Guide and Checklist on our surface water drainage webpage

http://www.hertfordshire.gov.uk/services/envplan/water/floods/surfacewaterdrainage/

Informative to the LPA

We recommend the LPA to obtain a maintenance plan that explains and follows the manufacturer’s recommendations for maintenance or that it follows the guidelines explained by The SuDS Manual by CIRIA. A maintenance plan should also include an inspection timetable with long term action plans to be carried out to ensure efficient operation and prevent failure.

The applicant can overcome our objection by submitting a surface drainage assessment which covers the deficiencies highlighted above and demonstrates that the development will not increase risk elsewhere and where possible reduces flood risk overall, and gives priority to the use of sustainable drainage methods.

If this cannot be achieved we are likely to maintain our objection to the application.

We ask to be re-consulted when the amended surface drainage assessment will be submitted. We will provide you with bespoke comments within 21 days of receiving formal reconsultation. Our objection will be maintained until an adequate FRA has been submitted.

Hertfordshire County Council Flood Risk and Water Management [further comments]: Thank you for re-consulting us on the application above for the demolition of existing buildings and erection of a single storey industrial building, erection of a three/four storey 92 bed hotel, installation of electricity sub-station, associated alterations to car parking, closure of existing access and construction of new access to roundabout, landscaping and means of enclosure, at Church Wharf, Church Street, Rickmansworth, WD3 1JB.

Following a review of the Flood Risk Assessment prepared by Ramboll Environ (project no. UK14-22871, dated December 2016) and Drainage Strategy Statement prepared by Conisbee (reference no. 140060/DW, dated 3 May 2017, version 1.4), Flood Risk Additional Information prepared by Ramboll Environ (dated 17.03.2017) and Sustainable Drainage Maintenance Strategy prepared by Conisbee (reference: 140060/D Wood, dated 13 March 2017, version 1.0), we can confirm that we Hertfordshire County Council as the Lead Local Flood Authority are now in a position to remove our objection on flood risk grounds.

The drainage strategy is based on permeable subbase, rain gardens, flow controls and discharge into River Chess. The proposed layout for the development makes the provision of permeable subbase (depth 400mm in Travis Perkins site and 460mm in Premier Inn site with total attenuation storage of 589.98m3) which they have demonstrated is a feasible option to provide the required attenuation volume of 521.4m3 and to provide a significant betterment providing greenfield runoff rates of 7.8l/s of discharge by re-use existing outfall with an invert of 46.35m OD. We note surface water calculations have been updated and ensure that the drainage strategy caters for all rainfall events up to and including 1 in 100 plus 40% for climate change.

We therefore recommend the following conditions to the LPA should planning permission be granted.

LLFA position

Condition 1

The development permitted by this planning permission shall be carried out in accordance with the approved surface water drainage assessment carried out by Conisbee, with reference no. 140060/DW, version 1.4, dated 03 May 2017 and the following mitigation measures detailed within the FRA:

- Providing attenuation to ensure no increase in surface water run-off volumes for all rainfall events up to and including the 1 in 100 year + climate change event.

- Undertake the drainage as indicated on drawing titled ‘Surface Water drainage Strategy’, drawing no. C1010, revision PL3.

- Implement appropriate drainage strategy based on attenuation and discharge into Thames surface water sewer.

The mitigation measures shall be fully implemented prior to occupation and subsequently in accordance with the timing / phasing arrangements embodied within the scheme, or within any other period as may subsequently be agreed, in writing, by the local planning authority.

Reason

- To prevent flooding by ensuring the satisfactory disposal and storage of surface water from the site.

- To reduce the risk of flooding to the proposed development.

Condition 2

No development shall take place until a detailed surface water drainage scheme for the site based on the approved Flood Risk Assessment and Drainage Strategy Statement and sustainable drainage principles and an assessment of the hydrological and hydro geological context of the development, has been submitted to and approved in writing by the local planning authority. The drainage strategy should demonstrate the surface water run-off generated up to and including 1 in 100 year + climate change critical storm will not exceed the run-off from the undeveloped site following the corresponding rainfall event. The scheme shall subsequently be implemented in accordance with the approved details before the development is completed.

Final, detailed drainage plan including location of SuDS measures, pipe runs and discharge point.

- Final, detailed engineered drawings of the proposed SuDS features including their size, volume, depth and any inlet and outlet features including any connecting pipe runs.

- Final detailed management plan to include arrangements for adoption and any other arrangements to secure the operation of the scheme throughout its lifetime.

Reason

To prevent the increased risk of flooding, both on and off site.

Informative to the LPA

For further guidance on HCC’s policies on SuDS, HCC Developers Guide and Checklist and links to national policy and industry best practice guidance please refer to our surface water drainage webpage 

http://www.hertfordshire.gov.uk/services/envplan/water/floods/surfacewaterdrainage/ 

Please note if the LPA decide to grant planning permission we wish to be notified for our records should there be any subsequent surface water flooding that we may be required to investigate as a result of the new development.

    - Hertfordshire County Council Highways [no objection subject to conditions]: Notice is given under article 18 of the Town and Country Planning (Development Management Procedure) (England) Order 2015 that the Hertfordshire County Council as Highway Authority does not wish to restrict the grant of permission subject to the following conditions:

Conditions:-

Condition (access design) The development shall not commence until full details of the proposed access arrangements onto the existing highway network have been submitted to and approved in writing by the Local Planning Authority. The details are to include all pavement, kerbing, footway, drainage and street lighting works adjacent to the existing highway boundaries to deliver safe vehicular and pedestrian movements between the site and the main road network.

Reason;-To minimise danger, obstruction and inconvenience to users of the highway in accordance with Policies CP1 and CP10 of the Core Strategy (adopted October 2011) and Policy DM13 and Appendix 5 of the Development Management Policies LDD (adopted July 2013).

Condition (highway adoption):- Prior to commencement of the development hereby permitted details of the proposed areas and treatments of adoptable highway (including the identification of appropriate kerbing and tactile paving layouts) to deliver a safe pedestrian crossing route on the proposed access shall be submitted to and approved by the Local Planning Authority. The areas and construction details appropriate to all areas proposed as adoptable highway are also required to be identified and approved. The development shall be carried out in accordance with the approved details and shall not be occupied until those works have been completed and all of the areas approved as adoptable highway have been dedicated as public highway.

Reason;-To minimise danger, obstruction and inconvenience to users of the highway in accordance with Policies CP1 and CP10 of the Core Strategy (adopted October 2011) and Policy DM13 and Appendix 5 of the Development Management Policies LDD (adopted July 2013).

Condition (construction management):- The development shall not begin until full details of all proposed construction vehicle access, movements, parking arrangements and wheel washing facilities have been submitted to and approved in writing by the Local Planning Authority. The relevant details should be submitted in the form of a Construction Management Plan.

Reason;-To minimise danger, obstruction and inconvenience to users of the highway in accordance with Policies CP1 and CP10 of the Core Strategy (adopted October 2011) and Policy DM13 and Appendix 5 of the Development Management Policies LDD (adopted July 2013).

I recommend inclusion of the following Advisory Notes (AN) to ensure that any works within the highway are carried out in accordance with the provisions of the Highway Act 1980.

AN1. Construction standards for works within the highway: The applicant is advised that in order to comply with this permission it will be necessary for the developer of the site to enter into an agreement with Hertfordshire County Council as Highway Authority under Section 278 of the Highways Act 1980 to ensure the satisfactory completion of the access and associated road improvements.

The construction of such works must be undertaken to the satisfaction and specification of the Highway Authority, and by a contractor who is authorised to work in the public highway. Before works commence the applicant will need to apply to the Highway Authority to obtain their permission and requirements. Further information is available via the website http://www.hertfordshire.gov.uk/services/transtreets/highways/ or by telephoning 0300 1234047.

AN2. Highway Adoption: The applicant is advised that Hertfordshire County Council as Highway Authority proposes to adopt the western end of the access road as part of the highway maintainable at the public expense. Details of the specification, layout and width of the said highway are to be submitted to the Highway Authority. No development shall commence until the details have been approved in writing and an Agreement made under Section 38 of the Highways Act 1980 is in place. The extent of adoption as public highway must be clearly illustrated on a plan. Further information is available via the website http://www.hertfordshire.gov.uk/services/transtreets/highways/ or by telephoning 0300 1234047.

Highway comments:-

This application proposes the demolition of an existing building materials outlet and the construction of a replacement facility and a new hotel accessed from the roundabout junction of Church Street with the Riverside Drive. This roundabout junction forms part of the Principal Road network (A404) and the route is designated a Main Distributor in the HCC hierarchy of roads.

The site is currently occupied by Travis Perkins and it is intended to redevelop the site to provide a new facility for building supplies to the north and a 92 bedroom hotel to the south. The details submitted for consideration include a Transport Assessment document providing information on the following aspects of the development:

Highway Access and Parking:-

Vehicular access for the development is shown in indicative form on Drawing No. 0757-01-121-S1-P23. An amended access onto Batchworth Roundabout is proposed, providing a central traffic island, segregating vehicular entry and exit movements. The island will also deliver a refuge for pedestrians wanting to cross the access.

The existing site access is very close to the give way position on the Church Street junction approach. The relocation of the site access and the associated increased separation between the adjacent junction entries is expected to reduce the number of vehicular conflicts on this section of the junction. The proposed junction layout has been assessed for operational capacity with and without the development. The impact of the development generated traffic is not considered to be significant during the peak travel periods.

The hotel element is proposed with 52 car parking spaces and 20 cycle spaces. The proposed car parking provision is slightly above one space for every two bedrooms and therefore assumes a considerable number of visitors to the hotel will arrive by travel modes other than the private car. The building supplies element is proposed with 22 car parking spaces and 4 cycle spaces. The Transport Assessment also includes the results of a parking accumulation survey undertaken on a single day for the existing building supplies business. These levels of car parking provision will be assessed by the Local Planning Authority in relation to its current parking standards. The existing on-street parking restrictions in place on the local highway network are expected to minimise any migration of excess on-site parking demand to the adjacent highway.

In addition to the parking proposed for the hotel and the building material supplier, the development will also deliver the improvement to the existing car parking facility alongside the Grand Union Canal.

Trip Generation and Distribution.

The Transport Assessment presents trip generation rates from the TRICS database relating to the previous and proposed uses of the site. This concludes that the number of car based trips generated by the proposed development will reduce and increase during the a.m. and p.m. peak travel periods respectively. These changes (both positive and negative) are not considered to be significant to the flow of traffic on the adjacent highway. The trip rates identified in the Transport Statement are considered appropriate for the location of the site and the conclusions reported in terms of the predicted vehicle trips are not disputed by the Highway Authority.

The direct nature of the access onto Batchworth Roundabout will distribute the majority of development generated trips to and from the south and west. These movements are shown to be accommodated in the junction capacity test results.

Sustainable Travel Modes.

The National Planning Policy Framework requires that decisions on development proposals should consider whether opportunities for sustainable transport modes have been taken up and also that safe and suitable access to the site can be achieved for all people. The site is located within a 1km walk of Rickmansworth rail station providing good access to London and Amersham / Great Missenden to the north-west.

Existing bus stops are available close to the site on Church Street but are not served by frequent services. Access to more frequent services is available in the town centre (within a 1km walk). The proposed site layout will deliver improved pedestrian access to and from the site.

Travel Plan.

The details submitted include Travel Plan documents for both elements of the development site. The Highway Authority would only require a Travel Plan Statement for the proposed hotel site. It therefore considers that the Travel Plan details submitted are acceptable.

Highway Summary.

These proposals will be subject to formal Section 278 and Section 38 agreements with the Highway Authority. The Highway Authority requests that further details of the construction proposals are submitted to ensure that the proposed elements are suitable to be adopted as part of the highway network.

Formal consideration of all construction vehicle movements is also required to ensure that any inconvenience to users of the adjacent highway is kept to a minimum. The Highway Authority therefore does not raise any objection to the application subject to confirmation of the suggested planning conditions and advisory notes identified above.

    - Hertfordshire County Council Property: No response received.

    - Hertfordshire County Council Waste and Minerals [no objection, condition requested]: Government policy seeks to ensure that all planning authorities take responsibility for waste management. This is reflected in the County Council’s adopted waste planning documents. In particular, the waste planning documents seek to promote the sustainable management of waste in the county and encourage Districts and Boroughs to have regard to the potential for minimising waste generated by development.

Most recently, the Department for Communities and Local Government published its National Planning Policy for Waste (October 2014) which sets out the following:

‘When determining planning applications for non-waste development, local planning authorities should, to the extent appropriate to their responsibilities, ensure that:

- the likely impact of proposed, non- waste related development on existing waste management facilities, and on sites and areas allocated for waste management, is acceptable and does not prejudice the implementation of the waste hierarchy and/or the efficient operation of such facilities;

- new, non-waste development makes sufficient provision for waste management and promotes good design to secure the integration of waste management facilities with the rest of the development and, in less developed areas, with the local landscape. This includes providing adequate storage facilities at residential premises, for example by ensuring that there is sufficient and discrete provision for bins, to facilitate a high quality, comprehensive and frequent household collection service;

- the handling of waste arising from the construction and operation of development maximises reuse/recovery opportunities, and minimises off-site disposal.’

This includes encouraging re-use of unavoidable waste where possible and the use of recycled materials where appropriate to the construction. In particular, you are referred to the following policies of the adopted Hertfordshire County Council Waste Core Strategy and Development Management Policies Development Plan Document 2012 which forms part of the Development Plan. The policies that relate to this proposal are set out below:

Policy 1: Strategy for the Provision for Waste Management Facilities. This is in regards to the penultimate paragraph of the policy;

Policy 2: Waste Prevention and Reduction: &

Policy 12: Sustainable Design, Construction and Demolition.

In determining the planning application the District Council is urged to pay due regard to these policies and ensure their objectives are met. Many of the policy requirements can be met through the imposition of planning conditions.

Waste Policy 12: Sustainable Design, Construction and Demolition requires all relevant construction projects to be supported by a Site Waste Management Plan (SWMP). This aims to reduce the amount of waste produced on site and should contain information including types of waste removed from the site and where that waste is being taken to. Good practice templates for producing SWMPs can be found at:

http://www.smartwaste.co.uk/ or http://www.wrap.org.uk/category/sector/waste-management.

SWMPs should be passed onto the Waste Planning Authority to collate the data. The county council as Waste Planning Authority would be happy to assess any SWMP that is submitted as part of this development either at this stage or as a requirement by condition, and provide comment to the District Council.

There are unlikely to be significant mineral (sand and gravel) deposits within the area in question, however, the relevant Policy 5 within Hertfordshire Minerals Local Plan Review 2002-2016, adopted March 2007 states that mineral extraction will be encouraged prior to other development taking place where the mineral would otherwise be sterilised.

On this basis, development may give rise to ‘opportunistic’ use of some limited or poorer quality minerals at the site that could be utilised in the development itself. Examination of these opportunities would be consistent with the principles of sustainable development.

    - Hertfordshire County Council Rights of Way: No response received.

    - Hertfordshire Ecology [no objection, conditions suggested]: The application site is adjacent to the Croxley Hall Lakes Local Wildlife Site (LWS). However if the proposed development in limited to within its current footprint it is unlikely that there will be any direct impact on the LWS. Indirectly the application has the potential to impact through increase dust and light. Species such as European otter, water vole, and several species of bats have been recorded in the vicinity.

The Preliminary Ecological Appraisal (PRE) and Bat Report have made several recommendations to help avoid and mitigate any potential ecological constraint both during construction and possible indirect impacts post construction. I agree in principle to the approach that has been suggested, with only a single proviso. In the PRE the ecologist has stated that if the footprint of the proposed development moves to within 5 m of the river bank, possible impacts on European otter and water vole should be investigated. The European otter is protected under the Conservation of Habitats and Species Regulations 2010 (as amended), and therefore all impacts must be accounted for prior to determination so that planners can be assured that the third derogation test can be met. Therefore if there is any significant change to plans that move the footprint of the development to within that distance an amended application may need to be made to include European otter surveys.

With that in mind I would recommend that the applicant submit a Construction Environmental Management Plan, which incorporates all the recommendations raised in the PEA, with supplementary plans in-case European otters become a constraint at a later date. I can suggest the following wording:

No development shall take place (including demolition, ground works, vegetation clearance) until a Construction Environmental Management Plan (CEMP: Biodiversity) has been submitted to and approved in writing by the local planning authority. The CEMP (Biodiversity) shall include the following.

A) Risk assessment of potentially damaging construction activities.

B) Identification of “biodiversity protection zones”.

C) Practical measures (both physical measures and sensitive working practices) to avoid or reduce impacts during construction (may be provided as a set of method statements).

D) The location and timings of sensitive works to avoid harm to biodiversity features.

E) The times during which construction when specialist ecologists need to be present on site to oversee works.

F) Responsible persons and lines of communication.

G) The role and responsibilities on site of an ecological clerk of works (ECoW) or similarly competent person.

H) Use of protective fences, exclusion barrios and warning signs if applicable.

The approved CEMP shall be ahead to and implemented throughout the construction period strictly in accordance with the approved details, unless otherwise agreed in writing by the local planning authority.

In addition the Bat Assessment has recommended that if the present lighting scheme is to be changed then a new lighting scheme that will not increase light pollution on natural features should be installed. This can also be secured through condition:

Prior to occupation a “lighting design strategy for biodiversity” features or areas to be lit shall be submitted to and approved in writing by the local planning authority. The strategy shall:

a) Identify those areas/features on site that are particularly sensitive for nocturnal species and that are likely to cause disturbance in or around their breeding sites and resting places or along important routes used to access key areas of their territory, for example, for foraging; and

b) show how and where external lighting will be installed (through the provision of appropriate lighting contour plans and technical specification) so that it can be clearly demonstrated that areas to be lit will not disturb or prevent the above species using their territory or having access to their breeding sites and resting places.

All external lighting shall be installed in accordance with the specifications and locations set out in the strategy, and these shall be maintained thereafter in accordance with the strategy. Under no circumstances should any other external lighting be installed without prior consent from the local planning authority.

Finally as the application site is currently of very low biodiversity value the applicants have the opportunity to create a landscape plan that will enhance biodiversity in the area. Considering the area the application site sits in (LWS, rivers Local Nature Reserves etc.), creating a landscape plan that fits well into its surroundings will benefit biodiversity and help to secure wide ranging benefits for many species.

    - Hertfordshire Fire and Rescue: No response received.

    - Landscape Officer [no objection]: I hold no objections to the proposal.

A tree report has been submitted by ADAS UK Ltd 2016. I concur with the findings, classifications and recommendations.

Providing the tree protection is carried out as shown in drawing number RPM001/PE-CS14/TQCP as a condition I have no further concerns.

    - Local Plans [no objection]: Policy CP6 of the adopted Core Strategy (2011) sets out that the sustainable growth of the Three Rivers economy will be supported by:

j) Continuing to focus employment use within the key employment areas within the District

k) Ensuring that employment uses are accessible through a range of transport modes including public transport

o) Generally retaining general industrial and warehousing space in employment use, but recognising opportunities for relocation or mixed use redevelopment of industrial and warehousing space where this would contribute to wider sustainability objectives and would not harm the overall economic performance of the District.

Rickmansworth Town Centre is identified as a key employment area, and the town centre location provides access to several public transport routes, and as such the location of the site is sustainable. As Travis Perkins will remain on the site there will not be a reduction of industrial and warehousing space in employment use. The addition of the hotel will make the overall site mixed use, however there are no policy objections to this.

Policy DM8 Flood Risk and Water Resources of the adopted Development Management Policies LDD (2013) states that development will only be permitted where it would not be subject to unacceptable risk of flooding, and a Flood Risk Assessment is required for proposals for all new development in Flood Zones 2 and 3. As the site is in Flood Zone 2 and partially in Flood Zone 3 a Flood Risk Assessment would be required.

Policy DM9 Contamination and Pollution Control states that planning permission will only be granted where the Council is satisfied that  there will be no threat to the health of future users or occupiers of the site or neighbouring land and there will be no adverse impact on the quality of local groundwater or surface water quality. Due to the prior industrial use of the site, and the proximity of the site to the canal, evidence will be required to be submitted as part of the application.

Policy DM13 Parking of the Development Management Policies LDD requires development proposals to make provision for parking in accordance with the standards set out in Appendix 5 of the same document. The applicant proposes 52 parking spaces for the hotel and 22 parking spaces for the building merchants. The proposed number of parking spaces for the hotel, after adjustments made for Parking Zone 2, meets the required standards. As the building merchants use would be covered by the B8 Storage and distribution use class in Appendix 5, the requirement is 1 space per 75 square meters gross floor space. The proposed 22 parking spaces would comfortably meet the requirements in Appendix 5 of the Development Management Policies LDD.

    - National Grid (Gas): No response received.

    - Rickmansworth Police: No response received.

    - Sustainability Officer: No response received.

    - Thames Water [no objection, condition and informative requested]:  Waste Comments

Thames Water recommends the installation of a properly maintained fat trap on all catering establishments. We further recommend, in line with best practice for the disposal of Fats, Oils and Grease, the collection of waste oil by a contractor, particularly to recycle for the production of bio diesel. Failure to implement these recommendations may result in this and other properties suffering blocked drains, sewage flooding and pollution to local watercourses.

A Trade Effluent Consent will be required for any Effluent discharge other than a 'Domestic Discharge'. Any discharge without this consent is illegal and may result in prosecution. (Domestic usage for example includes - toilets, showers, washbasins, baths, private swimming pools and canteens). Typical Trade Effluent processes include: - Laundrette/Laundry, PCB manufacture, commercial swimming pools, photographic/printing, food preparation, abattoir, farm wastes, vehicle washing, metal plating/finishing, cattle market wash down, chemical manufacture, treated cooling water and any other process which produces contaminated water. Pre-treatment, separate metering, sampling access etc., may be required before the Company can give its consent. Applications should be made at http://www.thameswater.co.uk/business/9993.htm or alternatively to Waste Water Quality, Crossness STW, Belvedere Road, Abbeywood, London. SE2 9AQ. Telephone: 020 3577 9200.

Thames Water would recommend that petrol / oil interceptors be fitted in all car parking/washing/repair facilities. Failure to enforce the effective use of petrol / oil interceptors could result in oil-polluted discharges entering local watercourses.

No piling shall take place until a piling method statement (detailing the depth and type of piling to be undertaken and the methodology by which such piling will be carried out, including measures to prevent and minimise the potential for damage to subsurface sewerage infrastructure, and the programme for the works) has been submitted to and approved in writing by the local planning authority in consultation with Thames Water.  Any piling must be undertaken in accordance with the terms of the approved piling method statement. Reason: The proposed works will be in close proximity to underground sewerage utility infrastructure.  Piling has the potential to impact on local underground sewerage utility infrastructure. The applicant is advised to contact Thames Water Developer Services on 0800 009 3921 to discuss the details of the piling method statement.

'We would expect the developer to demonstrate what measures he will undertake to minimise groundwater discharges into the public sewer.  Groundwater discharges typically result from construction site dewatering, deep excavations, basement infiltration, borehole installation, testing and site remediation. Any discharge made without a permit is deemed illegal and may result in prosecution under the provisions of the Water Industry Act 1991.  Should the Local Planning Authority be minded to approve the planning application, Thames Water would like the following informative attached to the planning permission: "A Groundwater Risk Management Permit from Thames Water will be required for discharging groundwater into a public sewer. Any discharge made without a permit is deemed illegal and may result in prosecution under the provisions of the Water Industry Act 1991. We would expect the developer to demonstrate what measures he will undertake to minimise groundwater discharges into the public sewer.  Permit enquiries should be directed to Thames Water's Risk Management Team by telephoning 02035779483 or by emailing wwqriskmanagement@thameswater.co.uk. Application forms should be completed on line via www.thameswater.co.uk/wastewaterquality."

Thames Water would advise that with regard to sewerage infrastructure capacity, we would not have any objection to the above planning application.

Water Comments

With regard to water supply, this comes within the area covered by the Affinity Water Company. For your information the address to write to is - Affinity Water Company The Hub, Tamblin Way, Hatfield, Herts, AL10 9EZ - Tel - 0845 782 3333.

    - Traffic Engineer: No response received.

4.2	Public Consultation

4.2.1	Number consulted:	94

4.2.2	Site Notice posted 9 January 2017 and expired 30 January 2017.

Press notice published 27 January 2017 and expired 17 February 2017.

    - Number of responses: 21

    - Summary of Responses

Character

- Building design could be improved.

- Four storey building much higher than existing.

- Building too tall.

- Out of proportion with area.

- Height and bulk of hotel out of character with locality.

- Overdevelopment of site.

- Bland and repetitive design inappropriate.

- Excessively prominent in street scene and relative to canal.

- Adjacent to canal, popular with walkers and cyclists and area of natural beauty.

- Site on edge of Conservation Area.

- Prominent site which should be looked at as part of strategic plan for the area.

- Design not appropriate to prominent location.

- Would be out of character with Georgian/Victorian town centre.

- Would impact on views from Green Belt.

- Limited planting to east boundary.

- Inadequate planting.

- Should prepare landscaping management and maintenance plan with adjoining landowners.

Impact on Neighbours

- Impact on privacy and amenity of neighbour through bulk, scale, overlooking and activity.

- Loss of privacy to neighbouring garden, lounge and bedroom.

- Would be 62m long, 13m high building along neighbouring garden with 50 windows causing overlooking contrary to requirements for privacy.

- Bulk and scale of building would be overpowering and dominating to neighbour and no details of enclosures.

- Nuisance from air conditioning and plant room with constant noise and smells.

- Activity and parking with access along length of canal would cause nuisance with no restrictions on comings and goings or vehicular movements and would require windows to be kept closed.

- Overdevelopment would result in congestion affecting access to neighbouring property with lack of space for queuing lorries.

Traffic, Access and Parking

- Support proposed access which would be safer.

- Query whether sufficient parking.

- Inadequate parking for number of rooms which will cause overspill.

- Parking already difficult in area.

- Impact of overspill parking not acknowledged.

- CPZ is not 24 hours so would be parking evenings and on Sundays.

- Would Council be willing to extend CPZ hours to 24/7?

- Residents should not have to pay for non-existent parking spaces surrounding site.

- Would cause congestion.

- Main roads congested at peak periods and development likely to increase this.

- Hotel would exacerbate traffic issues.

- Roundabout already congested.

- Traffic would cause danger to pedestrians.

- Traffic generation for Travis Perkins underestimated.

- Layout will require lorries to turn at rear of site creating obstruction and noise.

- Location of refuse store will make access and servicing awkward causing obstruction.

- No provision for pedestrians.

- Combination of lorries and cars with no cycle provision dangerous.

- Visibility at Travis Perkins exit restricted by fencing.

- Does not provide safe access.

- Current site does not manage deliveries leading to obstruction; robust delivery and servicing management plan with clear ways to enforce and monitor arrangements should have been provided with application.

- Visitors to builder’s yard may seek to park in hotel.

- Would be additional parking need for bar and restaurant; users would not walk.

- No turning head at end of access to allow fuel tanker serving The Island to turn.

- Parking already causes issues for access to The Island.

- Lack of parking for hotel will create obstruction to access road.

- Could developer contribute to extension of 20mph zone to cover Ebury Road.

- Footpath adjacent river is narrow and development would be opportunity to widen it to improve access.

- No improved access to river bank or Ebury Way.

- Footpath at rear of Travis Perkins should remain.

Other Comments

- Applicant should indicate why sequential test not required; and scant evidence for need for development.

- Developers should prove there is a need.

- Acknowledge need for hotel accommodation.

- No objection to redevelopment of site; existing buildings are an eyesore and access is poor.

- Bar and restaurant should be included in description.

- Support provision of overdue hotel accommodation and associated employment opportunities while retaining builder’s merchant.

- Site unsuitable for mixed use development.

- Mixed uses would result in clash of interests.

- Hours would not be compatible.

- Wrong place for hotel on busy roundabout and next to residential estate.

- Hotel would attract business clientele not interested in surroundings.

- Scheme provides no public benefit.

- Area floods and impact needs to be considered.

- Impact on flood risk of surrounding areas.

- Impact on drainage system which is already under strain.

- Bat survey not carried out to satisfy duty to protect bats.

- Disturbance to wildlife.

- Play area near St Mary’s Court run down; could developer contribute to upgrade.

- Should not have agreed to removal of hotel in Rickmansworth previously if a hotel is necessary.

- Travis Perkins provides a good facility.

- Disruption to local residents.

- Antisocial behaviour.

5.	Reason for Delay

5.1	Not applicable.

6.	Relevant Planning Policy, Guidance and Legislation

6.1	The Three Rivers Local Plan

The Core Strategy was adopted on 17 October 2011 having been through a full public participation process and Examination in Public. Relevant policies include Policies PSP1, CP1, CP6, CP7, CP8, CP9, CP10, CP11 and CP12.

The Development Management Policies Local Development Document (LDD) was adopted on 26 July 2013 after the Inspector concluded that it was sound following Examination in Public which took place in March 2013. Relevant policies include DM2, DM3, DM4, DM6, DM7, DM8, DM9, DM10, DM12, DM13 and Appendix 5.

The Community Infrastructure Levy (CIL) Charging Schedule (adopted February 2015).

6.2	National Planning Policy Framework (NPPF)

On 27 March 2012, the framework of government guidance in the form of Planning Policy Statements and Planning Policy Guidance Notes was replaced by the National Planning Policy Framework (NPPF). The application has been considered against the policies of the Core Strategy (adopted October 2011), the Development Management Policies Local Development Document (adopted July 2013) and the Site Allocations Local Development Document (adopted November 2014) as well as government guidance. The policies of Three Rivers District Council reflect the content of the NPPF.

6.3	Other

Hertfordshire County Council Waste Core Strategy and Development Management Policies Development Plan Document (2012).

The Localism Act received Royal Assent on 15 November 2011. The growth and Infrastructure Act achieved Royal Assent on 25 April 2013.

The Wildlife and Countryside Act 1981 (as amended), the Conservation of Habitats and Species Regulations 2010, the Natural Environment and Rural Communities Act 2006 and the Habitat Regulations 1994 may also be relevant.

7.	Planning Analysis

  - Principle of Development

    - The National Planning Policy Framework sets out that ‘The Government is committed to ensuring that the planning system does everything it can to support sustainable economic growth. Planning should operate to encourage and not act as an impediment to sustainable growth. Therefore significant weight should be placed on the need to support economic growth through the planning system’.

    - Core Strategy Policy CP6 seeks to support the sustainable growth of the Three Rivers economy including by providing for a range of small, medium and large business premises and advises that development should generally retain overall levels of industrial and warehousing floorspace, although opportunities for relocation or mixed use redevelopment of industrial and warehousing space may be recognised where this would contribute to wider sustainability objectives and would not harm the overall economic performance of the District. Rickmansworth Town Centre is identified as a key employment area under Policy CP6.

    - Core Strategy Policy PSP1 also advises that development in Rickmansworth should maintain and enhance the vitality and viability of the town centre by promoting a range of town centre uses including housing, employment, shopping, leisure and community uses.

    - The application site currently accommodates a builder’s merchant. The application form indicates that the existing building has a floorspace of 2,220sqm and there are 28 existing employees. The proposed replacement builder’s merchant building would have a floorspace of 1,400sqm (1,045sqm at ground and 355sqm at mezzanine level). There would therefore be a reduction of 820sqm on the site, although additional outside storage would also continue to be provided. The application advises that the proposed builder’s merchant would employ 16 staff.

    - While there would be a reduction in the floorspace of the builder’s merchant, this is a sui generis use rather than B class employment floorspace and the application indicates that the consolidated facility would enhance the retail offer and protect jobs, and that the existing buildings are not suited to a modern builder’s merchant. In addition to the replacement builder’s merchant, the scheme also includes provision of a hotel and the application indicates employment of 32 staff within this facility such that there would be an overall increase in the number of jobs on the site.

    - Planning Policy have commented that Rickmansworth Town Centre is identified as a key employment area, and the town centre location provides access to several public transport routes, and as such the location of the site is sustainable. Travis Perkins will remain on the site and while the addition of the hotel will make the overall site mixed use, there are no policy objections to this.

    - Core Strategy Policy CP7 aims to support town centres and identifies Rickmansworth as the principal shopping and service centre in Three Rivers containing a range of facilities and services. Policy DM12 of the Development Management Policies document seeks to create and maintain sustainable communities including through the provision of community, leisure and cultural facilities, and advises that where development is proposed for new or improved community, leisure or cultural facilities they should be accessible by sustainable modes of transport.

    - While the hotel includes a restaurant, the application advises that the facility would serve guests (primarily with breakfasts but also a limited range of evening meals) rather than acting as a separately branded restaurant. A condition on any consent would require that the restaurant is not open to customers other than hotel resident guests.

    - The National Planning Policy Framework advises that Local Planning Authorities should apply a sequential test to planning applications for main town centre uses that are not in an existing centre and are not in accordance with an up-to-date Local Plan and should require applications for main town centre uses to be located in town centres, then in edge of centre locations and only if suitable sites are not available should out of centre sites be considered. However Planning Policy has commented that the site is a town centre location which is considered sustainable. It is within walking distance of bus stops within the town and would be approximately 850m from Rickmansworth Station. It would therefore be accessible by sustainable modes of transport. The hotel use would also provide a facility which would support the vitality and viability of the area and Rickmansworth Town Centre and the development would therefore accord with relevant policies.

    - As such, subject to a condition regarding the operation of the proposed restaurant, there is no in principle objection to the proposed development with regard to Policies PSP1, CP1, CP6 and CP7 of the Core Strategy and Policy DM12 of the Development Management Policies document.

  - Design and Impact on Street Scene/ Character

    - Policy CP1 of the Core Strategy seeks to promote buildings of a high enduring design quality that respect local distinctiveness and Policy CP12 of the Core Strategy relates to design and states that in seeking a high standard of design the Council will expect development proposals to ‘have regard to the local context and conserve or enhance the character, amenities and quality of an area’. Development should make efficient use of land but should also respect the ‘distinctiveness of the surrounding area in terms of density, character, layout and spacing, amenity, scale, height, massing and use of materials’; ‘have regard to the local context and conserve or enhance the character, amenities and quality of an area’ and ‘incorporate visually attractive frontages to adjoining streets and public spaces’.

    - The application site is currently in commercial use with a variety of structures which have developed on the site over time and some of which appear to be in poor condition, and the majority of the undeveloped site is hardstanding and includes use for open storage. The existing built form on the site is set back from the site frontage and is relatively low level. To the east of the site is the River Chess with open Green Belt beyond. The site is at the edge of Rickmansworth Town Centre and to the north of the site is St Mary’s Court which is a flatted block of two storeys with roof level accommodation served by dormers, with two storey residential dwellings to the north east. To the north west of the site is Batchworth House which is a modern three storey commercial building in office use. To the south of the site are The Island, a two storey dwelling and Batchworth Lock House a two storey commercial property which is also a Grade II Listed Building, with further residential dwellings and the Affinity Water site which includes a variety of buildings of up to three storeys in height beyond.

    - The character of the surrounding area is therefore varied. However, the application site is in a prominent location at a main route in and out of Rickmansworth and is readily visible from approaches from the north, south and east, and is also visible from the Grand Union Canal towpath to the south.

    - The proposed buildings would be set in from the site boundaries and would not lead to encroachment of development to Green Belt land.

    - The builder’s merchant building would consolidate the existing structures on the site. It would be set 2-3m from the north boundary of the site and would be set 22.5-30m from the boundary with the Batchworth Roundabout at the west. It would have a rectangular footprint of 64.5m by 17.1m with a further flat roof canopy to the entrance, and would have a pitched roof form 9.9m in height to the ridge.

    - The proposed building would be of greater scale than the existing buildings on the site and would be sited in relatively close proximity to the north site boundary, although the design details proposed assist to add visual interest and to break up the bulk of the building and at least 2m separation would be provided to the boundaries maintaining space around the building. The proposed pitched roof form with gable ends would also appear appropriate with regard to the character of the area, and would be no higher than the adjacent development on Church Street to the north and west of the site so as to be unduly prominent. Given the varied street scene and character of surrounding development together with the set back of the building from the highway, and the design and spacing provided around the building it is not considered that the proposed building would cause harm to the character or appearance of the area or that it would be unduly prominent in the street scene.

    - The building would be finished in a wooden cladding system and green steel faced wall panels, with insulated steel roof panels that would include rooflights and yellow doors and roller shutters. The existing development on the site includes a variety of finishes, and the proposed materials would be acceptable in principle with regard to the existing development and site surroundings, although samples and further details would be required by condition on any consent, including with regard to the need for any future maintenance, to ensure that materials would be appropriate to the site and character of the surrounding area.

    - In addition to the replacement building, there would be parking and open storage up to 5m in height around the building, including racked storage to the north of the site access road. The boundary treatment to the industrial building is shown to be 2.4m high steel railings to the west, 2.4m high green paladin mesh fence to the access road and north, and 2.4m high close boarded fencing to the north east. There would also be 3m high fencing to the external tool store within the site. The existing site is all laid as hardstanding and is used for open storage, with close boarded fencing, vegetation, wire mesh weldmesh fencing forming the boundaries. As part of the development, additional soft landscaping is proposed to the north boundary of the site and to the west fronting the roundabout with the boundary fence set back at least 3.5m from the highway which would help to soften the appearance of the development. Given this, and the variety in the character of development in the wider area, and in comparison to the existing site circumstances, the proposed boundary treatment and storage uses would not cause harm to the character or appearance of the area so as to result in harm which would justify refusal of permission.

    - The proposed hotel to the southern part of the site would be four storeys for the main part with flat roof sections, although the east and west parts of the building would be reduced to three storeys with pitched roof forms. It would be set approximately 40m from the west boundary of the site, and would be between 6.6m and 12.4m from the southern site boundary. While it would be readily visible from the surrounding area and would have a substantial footprint, there is no uniform building line in the area and the siting away from the west boundary would help to reduce the prominence of the development in the street scene. The angled footprint of the building would also respond to the River Chess channel which curves to the south of the site and would add visual interest to the building, and spacing would be provided to be boundaries in character with the area.

    - The proposed hotel would have a maximum height of 13.4m and would be of greater height than the development immediately to the north and south of the site, although there is variation in the surrounding area in terms of heights of buildings and design, and the hotel would not be higher than the maximum height of Batchworth House to the north west and would also be comparable in height to the Trinity Court development to the south west. The detailing proposed and set down sections also serve to reduce the visual impact of the building. Given the varied street scene and the siting of the development within the application site and the spacing to surrounding built form, the height would not result in the building appearing prominent so as to cause harm to the street scene or character of the area.

    - The hotel would be of contemporary design with materials proposed of dark facing brick, smooth white render, timber louvres, and zinc standing seam cladding, with timber cladding above the entrance. Purple window reveals initially proposed have now been omitted from the proposals. Given the variation in the area, the contemporary design and the materials that are proposed would not appear out of character and would be appropriate to the area, however, samples and further details would be required by condition to ensure that these would be appropriate, including with regard to the need for any future maintenance. Condenser units are additionally indicated to the east and west of the building and are shown to be enclosed by timber fencing. Further details of the fencing would also be required by condition on any consent.

    - Parking, access and landscaping are proposed to the south, east and west of the hotel, with planting and soft landscaping proposed to break up the proposed hardstanding areas, softening their appearance.

    - Boundary treatment to the hotel site would comprise 1.8m high steel railing at the south west with 0.45m high post and rail fencing to the east, south west, west and part of the north boundary. The 0.45m high post and rail fencing to the remaining site boundaries where the boundary is adjacent to footpaths would ensure that the boundary would not appear unduly prominent or overbearing while also defining the curtilage. While there would be 1.8m high fencing at the south west as a consequence of the slope towards the south from the boundary, this would be screened by vegetation and the steel railing proposed would retain openness and views through and it would not therefore cause harm to the character of the area.

    - The substation and bin store to the east would be relatively small scale ancillary features on the site, and subject to a condition to require further details of the materials and enclosures proposed to ensure that the finishes would be appropriate to the area, would not appear unduly prominent or out of character with regard to the existing site.

    - Subject to conditions, the proposal would not therefore appear significantly out of character with the area in the vicinity of the application site. It would not appear unduly prominent in the street scene of or result in adverse impacts on the character or appearance of the area. The proposal would therefore be acceptable in accordance with Policies CP1 and CP12 of the Core Strategy.

  - Impact on Heritage Assets

    - Batchworth Lock House to the south of the site is a Grade II Listed Building and the boundary of the Rickmansworth Town Centre Conservation Area is approximately 30m to the north west of the site.

    - Policy DM3 of the Development Management Policies document seeks to conserve and enhance heritage assets and advises that permission will not be granted for development if it would adversely affect the setting, character, appearance of or views in to or out of that Conservation Area. In relation to Listed Buildings, Policy DM3 advises that the Council will only support applications where the development would not adversely affect the character as a building of special architectural or historic interest or its wider setting.

    - The site includes a variety of existing structures in commercial use which would be replaced. The proposed replacement builder’s merchant building would be set over 30m from the boundary of the Rickmansworth Town Centre Conservation Area, while the proposed hotel would be set approximately 40m to the north east of the Listed Building at Batchworth Lock House.

    - The application is accompanied by a Planning and Heritage Statement which states that the development would not impact on the historic or aesthetic values of 99 Church Street or its wider setting; or the setting of the Conservation Area. While there would be an increase in built form on the site the proposed development would enhance the setting in comparison to the existing situation.

    - The Conservation Officer has not raised an objection to the proposal commenting that the proposal would be low-key in the street scene and would not harm the setting of the listed building or adjacent Conservation Area, and would therefore be acceptable.

    - Policy DM3 of the Development Management Policies document also sets out that where a site includes or is considered to have the potential to include heritage assets with archaeological interest, there must be appropriate assessment into the interest.

    - The site lies within a historically important post-medieval industrial area of Rickmansworth, and directly to the south is the Grand Union Canal opened in 1805 which is the longest barge canal in the country. Further industrial heritage assets are located around the site, such as the Lifting Road Bridge to the east, Chess Lock to the south and the site of a possible wharf to the south east. However, the Archaeological Desk Top Study submitted with the application concludes that the previous disturbance on site is extensive such that there is little or no prospect of archaeologically relevant levels surviving to any significant extent in the areas of the proposed development and Hertfordshire Archaeology have not raised an objection to the application.

    - As such, the proposal would not result in harm to heritage assets and would be acceptable in accordance with Policy DM3 of the Development Management Policies document.

  - Impact on Neighbours

    - Policy CP12 of the Core Strategy states that development should ‘protect residential amenities by taking into account the need for adequate levels and disposition of privacy, prospect, amenity and garden space’.

    - Although not directly applicable to the application as it refers to residential development, the Design Criteria at Appendix 2 of the Development Management Policies provide useful guidance with regard to overlooking. The guidelines advise that in the interests of privacy and to avoid overlooking, a distance of 28m should be achieved between the faces of single or two storey buildings backing on to each other. Distances should be greater between buildings in excess of two storeys with elevations which directly face each other or in situations where there are site level differences involved. Mitigating circumstances such as careful layout and orientation, screening and window positions may allow a reduction of distances between elevations.

    - The application site is currently in use as a builder’s merchant and the proposal would continue this use on the northern part of the site. There are residential neighbours to the north of the site at St Marys Court, and there are also residential moorings within the Chess Basin to the east of the site.

    - The proposed builder’s merchant building would be set 2-3m from the north boundary of the site and would be approximately 15m from the neighbouring flats at St Mary’s Court at the closest point (although the fire escape stair would project 1.5m closer), and over 25m from Chess Basin to the east. It would replace existing structures on the site although it would be of greater footprint and bulk in closer proximity to these neighbours. However, while the glazing to the east of St Marys Court faces towards the proposed building, given the separation that would be achieved, it would not appear overbearing. Shadow diagrams submitted with the application indicate that the building would not result in shading to the windows of these neighbouring properties. It is also noted that design details such as full height brick piers and timber cladding are indicated to the north elevation of the building to break up the built form and while it cannot be relied upon there is vegetation to the north boundary which is shown to be retained and which provides additional screening. Due to the siting and scale of the development and these neighbours, the building would not lead to significant loss of light so as to adversely affect occupiers.

    - The site is currently in use as a builder’s merchant. The replacement development is proposed to be open for trade 07:00-17:00 Monday to Friday and 07:00-13:00 Saturday although deliveries would be accepted 06:00-18:00 Monday to Friday and 06:00-13:00 Saturday so as to avoid clashes with customers to the site. These hours reflect those of the existing development.

    - Although the proposed building would be sited closer to the north site boundary, the delivery access to the site which is currently to the north would be relocated to the south of the building. The application is accompanied by a noise report which indicates that the proposed building would act as an effective visual and acoustic screen for neighbours to the north, reducing noise impacts to residents in comparison to the existing situation. However, notwithstanding this, provision of 2.4m dense close boarded fencing is also proposed to the north east corner of the site to provide further noise attenuation for the loading bay and any permission would be subject to a condition requiring submission of a servicing/delivery management plan to ensure that there would not be adverse impacts on neighbouring occupiers.

    - Windows are proposed to the north elevation of the builder’s merchant building, and these would serve the mezzanine level. These windows would be positioned to the western part of the building with views towards the frontage of St Marys Court and its flank which does not include habitable room windows. Therefore there would not be overlooking onto habitable windows or private amenity space. Rooflights are indicated to the eastern part of the building but would serve the ground floor level and would not therefore facilitate views towards neighbours.

    - Subject to conditions, the proposed builder’s merchant development would not therefore result in harm to the amenity of neighbouring occupiers in comparison to the existing situation through appearing overbearing, causing loss of light, overlooking or unacceptable noise or disturbance.

    - The proposed hotel would be in close proximity to the southern site boundary. It would be set approximately 40m to the north east of Batchworth Lock House and approximately 28m to the north west of The Island at the closest point. There are further neighbours at 115 and 117 Church Street approximately 60m to the south of the proposed hotel.

    - 115 and 117 Church Street and The Island are residential dwellings, and these buildings and Batchworth Lock House which is in commercial use would have views of the proposed hotel building. However, while the development would be visible, impact on a private view is not a material planning consideration that may be taken into account in the assessment of the application and shadow diagrams submitted with the application indicate that the building would not result in shading to the windows of these neighbouring properties. The development would be visible and it is acknowledged that it would be of greater height and would be closer to the southern boundary than existing structures which would alter the outlook from these neighbours, however given the level of separation together with its siting to the north, the building would not appear overbearing or cause loss of light or outlook to these occupiers so as to cause demonstrable harm which would justify refusal of permission.

    - The proposed hotel would include glazing to all elevations with the majority of windows concentrated to the north and south elevations. The glazing in the north elevation would face towards neighbours at St Mary’s Court, but would be set over 50m from these neighbours.  There would also be over 60m separation to 115 and 117 Church Street to the south and any views towards Batchworth Lock House to  the south west would be oblique with over 40m separation. As a consequence, the development would not result in unacceptable overlooking or loss of privacy to these neighbours.

    - To the west flank, one window is proposed to each of the ground, first and second floors. These would serve a team room at ground floor and corridors at first and second floors and would face onto the proposed parking area and Batchworth Roundabout beyond. Given this and the relationship with neighbouring occupiers they would not result in unacceptable overlooking.

    - To the east flank, windows are proposed at first and second floors serving corridors. These would not have outlook so as to cause overlooking to any neighbouring occupiers.

    - The hotel would be set 28.2m from the flank of The Island at the closest point, though the third floor level of the building would be at least 29m away. Windows proposed to the south elevation of the hotel would face towards the flank elevation of this neighbour and the site frontage. The flank elevation of The Island includes one ground floor window to the closest part of the application site, with one ground and one first floor level to the deeper east section.

    - The closest windows to The Island are 30m from the corner of this property, and over 34m from the windows to the flank of the deeper section to the east of this dwelling which is also set in from the main dwelling which would obscure views towards this glazing from the development. This would exceed the 28m guideline distance referred to in Appendix 2 of the Development Management Policies which is considered a useful indication, although it is acknowledged that the hotel would be four storeys under which situation the guidelines advise development should achieve greater levels of separation where distance alone is relied on to provide privacy.

    - However, the windows to the easternmost part of the hotel are shown to include angled timber louvres at first, second and third floor level to restrict views from these windows towards this neighbouring property. The louvres would be externally mounted and would not be adjustable by hotel occupants.

    - Due to the separation distance achieved and the relationship together with the boundary treatment, the ground floor windows would not result in unacceptable overlooking or loss of privacy to The Island. Subject to appropriate spacing and angling of the proposed louvres, and their permanent maintenance which would be required by condition on any consent, this treatment would ensure that there were not views from the upper floor windows onto the windows or amenity space immediately associated with this neighbour, and as a consequence the development would not cause unacceptable overlooking or loss of privacy so as to justify refusal of permission.

    - The windows to the southern elevation of the western part of the hotel would not be fitted with louvres. However, this wing is set at an angle such that the windows would not face directly towards The Island or to the amenity space immediately associated with this dwelling. Furthermore, the closest windows to this section of the hotel would be set over 45m from this neighbour. This would significantly exceed the 28m guideline distance referred to in Appendix 2 of the Development Management Policies which is considered a useful indication, and given that there would not be direct views would not cause unacceptable overlooking or loss of privacy from these windows.

    - The development would therefore achieve an appropriate standard of privacy for neighbouring occupiers.

    - While the hotel would change activity on the southern part of the site from the existing situation, given the relationship and separation to neighbouring occupiers together with provision of appropriate boundary treatment it is not considered that this would cause unacceptable noise or disturbance.

    - Plant equipment is proposed to the east and west of the hotel building within timber enclosures and recommendations are made within the Noise Report to attenuate any potential noise or disturbance. The restaurant within the hotel is proposed to serve guests rather than acting as a separately branded restaurant, and the Kitchen Extract Report submitted with the application sets out recommendations to ensure no odour impacts. Subject to conditions to require that measures to ensure the identified mitigation measures are implemented, the development would not result in harm to neighbouring occupiers.

    - The scale and siting of the proposed substation and refuse store at the west of the site would not cause overlooking or loss of amenity to neighbouring occupiers through appearing overbearing. However no details of any measures to attenuate possible noise or vibration impacts from the substation have been provided and would be required by condition to ensure that there would not be harm to the amenity of neighbours.

    - Subject to conditions, the development would not therefore result in demonstrable harm to the amenity of neighbouring occupiers which would justify refusal of permission and the proposal would be acceptable in accordance with Policy CP12 of the Development Management Policies document.

  - Highways and Access

    - Core Strategy Policy CP10 requires development to demonstrate that it will provide a safe and adequate means of access.

    - The proposed development includes revisions to the existing vehicular access to the site from the Batchworth Roundabout with a new arm of the roundabout junction to serve both the hotel and builder’s merchant with an internal road running through the site to provide access to the existing bridge over the Canal at the east.

    - The application is accompanied by a Transport Assessment and Travel Plans which indicate that the site benefits from an accessible location and that the proposed access will accommodate the development and result in an improved local highway network. There would not be a significant increase in trip generation so as to materially impact on the local highway network capacity.

    - The footpaths which run to the north, east and west of the site would be retained and the Highways Officer has commented that the submitted assessment of trip generation rates indicate that the number of car based trips generated by the proposal would reduce during the am peak and increase during the pm peak compared to the previous use. The Highway Authority do not dispute the predicted trip levels and have commented that the changes are not considered significant with regard to the flow of traffic on the adjacent highway. The expected vehicle movements would be accommodated within the junction capacity.

    - The Highways Officer has not therefore raised an objection to the application subject to conditions to require further details of the access design, highway adoption and a construction management plan. The Highways Officer advises that the relocated access would reduce vehicular conflicts and the traffic generated by the development would not be significant during peak travel periods with a reduction expected in the morning peak and an increase in the afternoon.

    - There would not therefore be adverse impacts to traffic or highway operation as a consequence of the development.

    - The builder’s merchant site would accommodate servicing by a 16.5m articulated vehicle and there is a dedicated loading area to the east. The boundary of the builder’s merchant site has been slightly reduced to provide forward visibility and additional information submitted during the application demonstrates that there would be adequate visibility for vehicles emerging from the exit from the builder’s merchant site. There are expected to be five daily delivery movements reflecting existing practices, and a Delivery and Service Management Plan is proposed to manage any impacts.

    - Deliveries and servicing for the hotel would use the site access which accommodates a delivery pull in area to accommodate 12m rigid delivery vehicles, and swept path analysis demonstrates access would be possible. It is anticipated that the hotel would be served by 10-14 deliveries per week, typically within daytime and with none expected on Sundays or Bank Holidays.

    - While it is now proposed that there would be additional parking spaces to serve the hotel along the site access road which would slightly reduce the carriageway width, a footway would also be retained to the rear of this parking to provide a pedestrian route through the site. In addition, swept path analysis demonstrates that the retained carriageway would be sufficient to accommodate an articulated lorry leaving the builder’s merchant and a large car. While the carriageway would not be of sufficient width to accommodate the infrequent occurrence of a 12m rigid vehicle approaching and an articulated lorry leaving the builder’s merchant, there would be sufficient visibility to allow the vehicles to give way within the site, and the Highways Officer has confirmed that there would be no objection to the revised layout.

    - A condition on any consent would require a delivery and servicing management plan (or plans) for both the proposed builder’s merchant and hotel to ensure that associated movements do not result in conflicts with other highway users.

    - Concerns have been raised that the proposal would affect access to The Island (including for oil tanker deliveries) which, together with the allotments and angling club car park, is currently accessed via a route to the north and east of the application site. It is noted that issues regarding agreeing any right of access would be a civil issue, outside of the consideration of the current planning application. However, notwithstanding this, as part of the proposal, the route of the existing access would be altered to be via the shared access through the site.

    - It is understood that oil tankers accessing The Island use an area to the west of the drawbridge to turn and reverse onto the drawbridge. The area used for turning is not a designated turning head and forms part of the circulation route for traffic to the existing site. Details have been submitted demonstrating that following development vehicles would be able to access a set down area to the front of the drawbridge without obstructing vehicles exiting the builder’s merchant site, and highlighting that as a consequence of the access to the builder’s merchant site being set to the west, there would no longer be potential conflict with vehicles serving this use obstructing access to the east and The Island. Tankers would then be able to turn within the hotel access. Similarly, refuse collection would be accommodated with vehicles able to turn within the hotel access. Given the limited frequency of such movements it is not therefore considered that the proposals would cause obstruction or result in unacceptable conflict. Access for larger vehicles would therefore be maintained.

    - While comments have been submitted that the existing development on the site causes obstruction to the existing access to The Island, it is noted that there is no provision to require management of servicing and deliveries associated with the current development on the site. As set out above, a condition would require such details associated with the current proposal, and a condition would also require management of the access road, including where necessary signage and enforcement to prevent unauthorised waiting and parking which may affect access. This would ensure that adequate access is maintained through the site to serve The Island and other users.

    - The Highways Officer has not raised an objection to the revised details subject to conditions, and it is therefore considered that the proposal would provide a safe and adequate means of access and that the safety and operation of the highway network would not be adversely affected. The development would therefore be acceptable in this regard in accordance with Core Strategy Policy CP10.

  - Parking

    - Core Strategy Policy CP10 also sets out that development should make adequate provision for all users including car and vehicle parking and Policy DM13 and Appendix 5 of the Development Management Policies document set out parking standards.

    - In relation to the hotel element of the development, the standards identify the following car parking requirements:

- 1 space per bedroom, plus

- 1 space per manager, plus

- 2 spaces per 3 staff (minus spaces related to staff bedrooms), plus

- 1 space per 5sqm dining area, plus

- 1 space per 3sqm bar area.

- A minimum of 1 coach space per 100 bedrooms.

    - A detailed breakdown of staff has not been provided, however 32 staff are expected. This would result in a requirement for approximately 12 staff spaces. The hotel would have 92 bedrooms equating to a requirement for 92 parking spaces, and would include a dining area of approximately 144sqm which would equate to a requirement for spaces 29 spaces. The total parking requirement on this basis would therefore be for 133 spaces.

    - However, the bar and dining area is proposed to serve guests of the hotel with breakfasts and a limited range of evening meals rather than providing a separately branded restaurant and would not therefore be a destination for non-residents so as to generate an additional parking requirement. If parking to serve the dining area is excluded, the requirement would be for 104 spaces. It is also noted that all staff would not be present on site at the same time.

    - However, the NPPF advises that in setting local standards for parking, Local Planning Authorities should take into account the accessibility of the development. Appendix 5 of the Development Management Policies document advises that standards may be adjusted according to the accessibility of a site, and advise that ‘the general presumption is to impose the lower (most restrictive) end of each range. However, having a range allows development to be tailored to particular circumstances’.

    - The application site falls within accessibility zone 2 which corresponds to parking provision at 25-50% of the indicative demand-based standard. This would result in a requirement for 26-52 spaces (33-67 spaces including the dining area).

    - While neighbours have raised concerns that parking would be required to serve the bar and dining area and it is not clear whether it would be open to non-residents, a condition on any consent would require that use of the restaurant is restricted to hotel resident guests.

    - Amended plans have been submitted during the course of the application and 60 spaces are now proposed to serve the hotel which would provide a ratio of 0.65 spaces per room (a 15% increase over the 0.57 space per room ratio under the initial proposals). The level of parking proposed would exceed the requirement for parking in accordance with the adopted standards (26-52 spaces, or 33-67 if the restaurant were to be included) within the Development Management Policies document.

    - Notwithstanding that the proposal would comply with standards, with regard to the characteristics of other hotel sites and requirements for parking, Premier Inn advise that the level of parking would be sufficient to accommodate demands from the hotel proposed and is well above the level of many of their more recent town centre schemes.

    - The application is also accompanied by a parking accumulation analysis based on trip generation data for other Premier Inn hotel sites sharing similar characteristics to the application site (including with regard to proximity to town centres/London, rail and underground services). The comparable sites have an average ratio of 0.33 spaces per room (in comparison to the 0.65 at the application site), and based on the comparable sites the analysis suggests a peak parking accumulation of 46 spaces at the application site which would occur overnight. The level of parking proposed would therefore adequately accommodate expected parking and the analysis indicates that there would not be overspill parking to the surrounding highway.

    - The Highways Officer has further noted that on street parking restrictions would minimise any migration of parking to the highway, although it is noted that the Controlled Parking Zone does not operate evenings or on Sundays.

    - Given the compliance of the development with the adopted parking standards and the evidence submitted as part of the application with regard to the appropriateness of the proposed level of parking, the amended level of parking proposed to serve the development would not result in demonstrable harm which would justify refusal of permission. A condition would also require a Travel Plan for the proposed hotel to encourage sustainable travel options for guests and staff.

    - Appendix 5 of the Development Management Policies document indicates that premises to which the public have access should provide 3 spaces or 6% of total capacity (whichever is greater) as accessible parking spaces which would result in a requirement for three accessible spaces. Four of the spaces to the west of the building are shown to be accessible which would make adequate provision in accordance with standards and these spaces would be in close proximity to the entrance to the hotel.

    - Cycle parking standards within Appendix 5 of the Development Management Policies document require 1 long term space per 10 beds plus 1 long term space per 10 staff. There would therefore be a requirement for up to 13 spaces. Stands for 20 cycles are proposed to the south of the site which would be sufficient in accordance with standards.

    - In relation to the builder’s merchant, this would be a sui generis use for which the parking standards advise the requirement should be determined in each case on individual merits.

    - The parking standards at Appendix 5 specifically refer to ‘builder’s merchants’ within B8 (storage and distribution) use for which the standard is 1 space per 75sqm gross floor area. This would equate to a requirement for 19 spaces although this may be reduced to 5-9 spaces according to the accessibility of the site. However, it is also acknowledged that the proposed builder’s merchant operation sees regular over the counter customer trade throughout the day which a more traditional B8 use is unlikely to generate. The parking standards are 1 space per 35sqm for non-food retail warehouses without garden centres (A1 use). This would equate to a requirement for 40 spaces although this may be reduced to 10-20 spaces according to the accessibility of the site.

    - Noting the characteristics of the proposed development, the average of the above B8 and A1 standards would be 1 space per 55sqm which would equate to a requirement for 25 spaces although this may be reduced to 6-13 spaces according to the accessibility of the site.

    - Parking for 22 cars (4 staff and 18 customer spaces) is proposed to the south and west of the building. This would significantly exceed requirement if considered under B8 which refers to builder’s merchants, and the adjusted requirement according to the accessibility of the site (6-13 spaces). However, it is also acknowledged that the nature of the products on offer are likely to result in a higher level of customer trips by car/van than may otherwise be expected according to the accessibility of the site, and as such there is no objection to the higher level of parking proposed to serve the builder’s merchants. The customer spaces proposed would have dimensions of 6m by 3m which would be sufficient to accommodate vans.

    - The cycle parking requirements within Appendix 5 of the Development Management Policies document indicate a standard for B8 (storage and distribution), in which ‘builder’s merchants’ is included within the description at Appendix 5 as 1 long-term space per 10 full time staff (2 spaces), while the requirement for A1 non-retail warehouses without garden centres is 1 short-term space per 350sqm plus 1 long-term space per 10 maximum staff on site (6 spaces). There would be four cycle parking spaces and based on the nature of the development this is considered acceptable.

    - The proposed development would result in the loss of the existing parking at the north east of the site which it is understood is currently used by anglers, boaters and allotment holders and which accommodates approximately 10-12 vehicles though spaces are not marked. The application advises that the applicants have negotiated the use of the angling club car park to the east of the river, and further details would be required by condition.

    - With regard to adopted policies and standards and the accessibility of the site, together with evidence regarding the likely profile and requirement for parking to serve the intended occupiers, it is not considered that the level of parking proposed would result in demonstrable harm so as to justify refusal of permission and the development would be acceptable in accordance with standards. However, conditions on any consent would require details of the allocation and management of parking, of the agreement regarding boater provision, and implementation of parking and management. Subject to these conditions, the development would be acceptable in accordance with Core Strategy Policy CP10 and Policy DM13 and Appendix 5 of the Development Management Policies document.

  - Trees and Landscaping

    - Policy CP12 of the Core Strategy expects development proposals to ‘have regard to the character, amenities and quality of an area’, to ‘conserve and enhance natural and heritage assets’ and should ensure that ‘the development is adequately landscaped and is designed to retain, enhance or improve important existing natural features; landscaping should reflect the surrounding landscape of the area and where appropriate integrate with surrounding networks of green open spaces’. Core Strategy Policy CP9 seeks a net gain in the quality and quantity of Green Infrastructure through the protection and enhancement of assets and the provision of new green spaces.

    - Policy DM6 of the Development Management Policies document sets out requirements in relation to trees, woodlands and landscaping and sets out that:

- Proposals for new development should be submitted with landscaping proposals which seek to retain trees and other important landscape and nature conservation features. Landscaping proposals should also include new trees and other planting to enhance the landscape of the site and its surroundings as appropriate

- Development proposals on sites which contain existing trees and hedgerows will be expected to retain as many trees and hedgerows as possible, particularly those of local amenity or nature conservation value or hedgerows considered to meet the Hedgerow Regulations 1997.

- Development proposals should demonstrate that existing trees, hedgerows and woodlands will be safeguarded and managed during and after development in accordance with the relevant standards

- Development should be designed in such a way as to allow trees and hedgerows to grow to maturity without causing undue problems of visibility, shading or damage.  Development likely to result in future requests for significant topping, lopping or felling will be refused

- Planning permission will be refused for any development resulting in the loss of or deterioration to protected woodland (including ancient woodland), protected trees (including aged or veteran trees) and hedgerows.

    - There are few trees within the main part of the application site, although there are trees to the boundaries. The site falls within the River Chess and Grand Union Canal Green Infrastructure corridor which is a key linkage that should be conserved and enhanced in accordance with Core Strategy Policy CP9.

    - An Arboricultural Impact Assessment has been submitted with the application indicating that two low C grade trees/groups would be lost and that the development would be outside of tree root protection zones with the exception of a slight intrusion by the builder’s merchant building although this is within an area already occupied by tarmac. Tree protection measures are also proposed.

    - The development also proposes additional soft landscaping to the site to the parking areas, to the west adjacent to Batchworth Roundabout and along the boundary with the river which would help to soften the appearance of the development.

    - The Landscape Officer concurs with the findings and recommendations of the submitted information and has not raised an objection to the proposal subject to implementation of the proposed tree protection measures which would be required by condition on any consent.

    - Subject to these conditions, the impact on trees and existing landscaping would acceptable in accordance with Policy DM6 of the Development Management Policies document. As considered further at 7.13 below however, further details of the proposed landscaping scheme with regard to species would however be required to enhance biodiversity.

  - Flood Risk

    - The main part of the application site is designated as flood zone 2, with some small areas of flood zone 3a at the southern part of the site. The River Chess which runs along the southern boundary of the site is also designated as a ‘main river’.

    - Core Strategy Policy CP1 sets out that development should avoid areas at risk from flooding. Policy DM8 of the Development Management Policies document sets out that in accordance with National Policy, the Council will only permit development if it is demonstrated that there will be no adverse impact on areas at risk of flooding. Development will only be permitted where it would not be subject to unacceptable risk of flooding and would not unacceptably exacerbate the risk of flooding elsewhere. Where practicable, existing flood risks should be reduced. Policy DM8 further advises that new development will not be permitted in flood zone 3b. Redevelopment of existing built development will only be permitted if the proposals are of a compatible use class and would not increase flood risk elsewhere. Specific requirements include:

- a flood risk assessment for proposals for new development in flood zones 2 and 3;

- the location of the most vulnerable parts of a development in areas of lowest risk unless there are overriding reasons to prefer different locations;

- development at risk of flooding should be flood resilient and resistant including safe access and escape routes, and it should be demonstrated that residual risks can be safely managed;

- floor levels of development should be situated above the 1% plus climate change predicted maximum water levels plus a minimum freeboard of 300mm;

- Development should normally be set back from a main river with a minimum 8m wide buffer zone and from any other watercourse with a minimum 5m wide bufferzone.

    - In addition to a flood risk assessment, paragraph 102 of the National Planning Policy Framework requires a Sequential Test to demonstrate that there are no reasonably available sites appropriate for the proposed development in areas with a lower probability of flooding. The builder’s merchant use proposed would be classified as ‘less vulnerable’ while the hotel use would be ‘more vulnerable’.

    - The submitted site plans indicate that the hotel building would be sited at least 10m from the main river at the south of the site which would comply with the requirements of Policy DM8 to provide a buffer zone.

    - The application is accompanied by a Flood Risk Assessment which considers flood risk and makes recommendations to mitigate impacts associated with the proposals.

    - The Environment Agency raised an initial objection to the application advising that the Flood Risk Assessment did not correctly take account of climate change allowances. In response, the applicant provided additional Flood Risk Assessment information on 17 March 2017.

    - The Environment Agency have reviewed the amended information and advised that the objection on flood risk grounds would be removed. While the Environment Agency have advised that the finished floor levels for the development should ideally be set 300mm above the 1 in 100 chance in any year including a 35% climate change allowance flood level; the finished floor levels for the proposed hotel would be at least 250mm above the 1 in 100 chance in any year including a 35% climate change allowance flood level, and would be likely to be above the 1 in 100 chance in any year including a 70% climate change allowance flood level and the builder’s merchant building would be above the 1 in 100 chance plus 15% climate change allowance flood level. With regard to the nature of the proposed development and national guidance, and given that the Environment Agency have not objected to the application on these grounds, it is not considered that there would be unacceptable flood risk to or as a result of the development so as to justify refusal of permission.

    - With regard to sequential testing, the application notes that the site accommodates an existing builder’s merchant. With regard to the proposed hotel, the preference for such development is for a town centre location. Much of Rickmansworth town centre south of the High Street is at greater risk of flooding than the application site. Areas to the east and north are within Green Belt with built development to the west, and the town centre is built up with potential development sites allocated for residential purposes within the Local Plan. As such there are no alternative sites available which would be sequentially preferable to the application site and the proposal would meet the requirements of the sequential test.

    - Subject to conditions to require that development is carried out in accordance with the submitted flood risk assessment and flood risk assessment additional information provided on 17 March 2017, the development would be acceptable in relation to flood risk with regard to Policy CP1 of the Core Strategy and Policy DM8 of the Development Management Policies document.

  - Sustainable Drainage

    - Policy CP1 of the Core Strategy states that there is a need to avoid development in areas at risk from flooding and to minimise flood risk through the use of Sustainable Drainage Systems (SuDS). This policy also states that there is a need to manage and reduce risk of and from pollution in relation to quality of land, air and water and dealing with land contamination. Policy DM8 of the Development Management Policies LDD states that development will only be permitted where it would not be subject to unacceptable risk of flooding, and would not unacceptably exacerbate risk of flooding elsewhere, and that development must protect the quantity and quality of surface and groundwater resources from aquatic pollution and that there must be sufficient surface water drainage. Policy DM9 refers to contamination and pollution control.

    - The application is accompanied by a Drainage Strategy which concludes that the most appropriate strategy is to continue to use the existing outfalls from the site and that surface water will be attenuated to greenfield run off rates before discharge to the River Chess. The scheme will increase the permeable surfaces on site.

    - Hertfordshire County Council as Lead Local Flood Authority initially commented that the submitted Flood Risk Assessment and Drainage Strategy did not provide a suitable basis for assessment to be made of the flood risks arising from the proposed development and infiltration tests, modelling calculations, details of how discharge rates will be limited, how flooding will be managed within the site, and confirmation from the Environment Agency regarding discharge to the River Chess would be required.

    - The applicant has provided additional information including a revised Drainage Strategy and a Drainage Maintenance Strategy. These have been reviewed by Hertfordshire County Council as the Lead Local Flood Authority who have advised that based on the additional information the objection would be withdrawn. The drainage strategy is based on permeable subbase, rain gardens and flow controls and discharge into the River Chess and demonstrates that the proposed drainage is feasible to provide the required attenuation. Suitable management and maintenance are also proposed.

    - They therefore have no objection subject to conditions to require the development is carried out in accordance with the submitted Drainage Strategy and further details of the surface water drainage measures to be implemented.

    - Subject to conditions on any consent to require these details, the development would make adequate provision for the management of surface water and would be acceptable in accordance with Policies DM8 and DM9 of the Development Management Policies document.

  - Sustainability

    - Policy CP1 of the Core Strategy requires all applications for commercial development to submit an Energy and Sustainability Statement demonstrating the extent to which sustainability principles have been incorporated into the location, design, construction and future use of proposals and the expected carbon emissions.

    - Policy DM4 of the Development Management Policies requires applicants to demonstrate that development will produce 5% less carbon dioxide emissions than Building Regulations Part L (2013) requirements having regard to feasibility and viability. This may be achieved through a combination of energy efficiency measures, incorporation of on-site low carbon and renewable technologies, connection to a local, decentralised, renewable or low carbon energy supply.

    - An Energy Statement has been submitted with the application indicating that the hotel would produce 36% less carbon emissions against 2013 Building Regulations while the builder’s merchant building would produce 10% less carbon dioxide. Reductions would be achieved through use of energy efficiency measures and an air source heat pump to the hotel building. These would meet the saving required by Policy DM4 and a condition would require that the development is carried out in accordance with the submitted details. However, details of the proposed air source heat pump to the hotel have not been provided and would also be required by condition to ensure no adverse impacts.

  - Infrastructure Provision

    - Core Strategy Policies CP8 and CP10 require development to make adequate contribution to infrastructure and services. The Three Rivers Community Infrastructure Levy Charging Schedule is applicable to this scheme and is the mechanism by which contributions would be sought towards infrastructure including education, libraries and sustainable transport.

    - The CIL Charging Schedule sets out that the site is within Area A, however the charge per sqm for the proposed development would be £NIL.

  - Contamination

    - Policy DM8 of the Development Management Policies document advises that the quality of groundwater resources should be protected from aquatic pollution and Policy DM9 sets out that permission will not be granted for development which would or could give rise to polluting emissions to land, air and/or water. Core Strategy Policy CP1 also states that development should manage and reduce risk of and from pollution in relation to quality of land, air and water and dealing with land contamination.

    - The application site is within Groundwater Source Protection Zone 1, and is also adjacent to watercourses, and the past use of the site has the potential to cause contamination. The application is accompanied by a Ground Investigation Report which makes recommendations to be incorporated as part of construction works on the site to ensure there would not be unacceptable contamination and indicates a requirement for further investigation.

    - Subject to conditions to secure the investigation and provision of mitigation measures to ensure there would not be contamination, the development would not result in polluting emissions to land, air and/or water and would be acceptable in accordance with Core Strategy Policy CP1 and Policies DM8 and DM9 of the Development Management Policies document.

  - Biodiversity

    - Section 40 of the Natural Environment and Rural Communities Act 2006 requires Local Planning Authorities to have regard to the purpose of conserving biodiversity. This is further emphasised by regulation 3(4) of the Habitat Regulations 1994 which state that Councils must have regard to the strict protection for certain species required by the EC Habitats Directive. The Habitats Directive places a legal duty on all public bodies to have regard to the habitats directive when carrying out their functions.

    - The protection of biodiversity and protected species is a material planning consideration in the assessment of this application in accordance with Policy CP9 of the Core Strategy which advises that the Council will seek a net gain in the quality and quantity of Green Infrastructure and that new development should contribute to the delivery of new Green Infrastructure, and Policy DM6 of the Development Management Policies document which advises that development must conserve, enhance and where appropriate restore biodiversity. National Planning Policy requires Local Authorities to ensure that a protected species survey is undertaken for applications where biodiversity may be affected prior to the determination of a planning application.

    - The application site is within the River Chess and Grand Union Canal Green Infrastructure corridor, and to the east of the main site is the Croxley Hall Lakes Local Wildlife Site and as such the site is on a key linkage for biodiversity.

    - The application is accompanied by a biodiversity checklist, an Ecology Report and a Bat Report. These identify little biodiversity interest on the site, and the Bat Report did not find evidence of roosting bats, however advise a precautionary approach should be taken during demolition and vegetation removal. It is also recommended that lighting is designed to avoid changes to current ambient light levels in the locality and bat boxes and bricks are proposed.

    - Hertfordshire and Middlesex Wildlife Trust have commented that planting proposals adjacent to the river should consist of appropriate native species to maximise ecological gains and the landscape plans adapted to reflect this. The Canal and River Trust have also suggested greater use of native species.

    - Hertfordshire Ecology have commented on the application that the proposal is unlikely to directly impact on the adjacent Local Wildlife site at Croxley Hall Lakes, however there would be potential for indirect impacts on biodiversity. The submitted Ecology Report and Bat Report make recommendations to avoid and mitigate impacts which Hertfordshire Ecology would support, although conditions to require a Construction Environmental Management Plan, and a lighting design strategy are suggested.

    - An amended landscaping plan would also be required to ensure that the proposal contributes to the enhancement of Green Infrastructure and biodiversity in the area, including through the use of appropriate species planting.

    - Subject to these conditions, the development would conserve and enhance biodiversity and would be acceptable in accordance with Core Strategy Policy CP9 and Policy DM6 of the Development Management Policies document.

  - Refuse and Recycling

    - Core Strategy Policy CP1 states that development should provide opportunities for recycling wherever possible. Policy DM10 of the Development Management Policies document sets out that adequate provision for the storage and recycling of waste should be incorporated into proposals and that new development will only be supported where the siting or design of waste/recycling areas would not result in any adverse impact to residential or workplace amenities, where waste/recycling areas can be easily accessed (and moved) by occupiers and waste operatives and where there would be no obstruction to pedestrian, cyclist or driver sight lines.

    - There would be storage for waste within the ground floor of the hotel with collection to be via private contractor, and swept path assessments demonstrate that service vehicles could access the site.

    - To the east of the site, a replacement bin store is proposed to serve boaters. This would accommodate six large and four wheelie bins and swept path analysis demonstrates that this would be accessible to refuse vehicles.

    - Subject to provision of these facilities which would be secured by condition on any consent, the proposal would make adequate provision for refuse and recycling in accordance with Policy DM10.

    - In accordance with the Hertfordshire County Council Waste Local Plan, there would be a requirement for a Site Waste Management Plan for the proposed development to include information including on the types of waste removed from the site and where that waste is being taken to, and this would be required by condition on any consent.

  - Safety and Security

    - Policy CP1 of the Core Strategy (adopted October 2011) advises that all development in Three Rivers will contribute to the sustainability of the District.  This means taking into account the need to, for example promote buildings and public spaces that reduce opportunities for crime and anti-social behaviour. Policy CP12 also requires that development proposals design out opportunities for crime and anti-social behaviour through the incorporation of appropriate measures to minimise the risk of crime and create safe and attractive places.

    - The Hertfordshire Constabulary Crime Prevention Design Advisor has commented on the application suggesting a 1.6m high open top railing fence to the south boundary of the site and suggesting CCTV requirements to be secured by condition. The boundary treatment has been amended during the course of the application to provide 1.8m high steel railing fencing to the south west part of the site boundary with 0.45m post and rail fencing to the remainder of the boundary. The steel railing is proposed at a height of 1.8m as a consequence of the land level changes to the south of this part of the boundary, and while the post and rail fencing would be of lesser height than suggested to the south boundary, this part of the site adjoins the footpath and would ensure that the boundary to the site would not be overbearing to users of this footpath or unduly prominent. However, a condition would require further details of CCTV and crime prevention measures to be installed on the development.

    - A condition would also ensure adequate provision for fire hydrants is made as part of any development.

    - Subject to conditions in relation to CCTV and fire hydrants, the development would be acceptable in this regard.

  - Summary

    - The proposal would replace the existing buildings which do not make a positive contribution to the area, making efficient use of this previously developed site and contributing to the vitality and viability of the area. While the development would alter the nature of the existing site, subject to conditions it would not cause demonstrable harm to the amenity of neighbouring occupiers or the character of the site and surrounding area. It would not adversely affect highway safety, trees, flood risk, drainage or biodiversity and would make adequate provision for parking in accordance with relevant policy, and would achieve relevant requirements with regard to sustainability. The development would therefore be in accordance with the development plan as a whole.

8.	Recommendation

  - That PLANNING PERMISSION BE GRANTED subject to the following conditions:

C1	The development hereby permitted shall be begun before the expiration of three years from the date of this permission.

Reason: In pursuance of Section 91(1) of the Town and Country Planning Act 1990 and as amended by the Planning and Compulsory Purchase Act 2004.

C2	The development hereby permitted shall be carried out in accordance with the following approved plans: 0757-01-101-S1-P6, 0757-01-111-S1-P3, 0757-01-112-S1-P2, 0757-01-113-S1-P2, 0757-01-114-S1-P1, 0757-01-121-S1-P27, 0757-01-122-S1-P4, 0757-01-123-S1-P4, 0757-01-151-S1-P13, 0757-01-152-S1-P13, 0757-01-153-S1-P12, 0757-01-154-S1-P12,  0757-01-155-S1-P1, 0757-01-161-S1-P15, 0757-01-162-S1-P12, 0757-01-163-S1-P12, 0757-01-164-S1-P13, 0757-01-165-S1-P9, 0757-01-166-S1-P9, 0757-01-167-S1-P10, 0757-01-168-S1-P15, 0757-01-sk156-S1-P1

Reason: For the avoidance of doubt and in the proper interests of planning in accordance with Policies PSP1, CP1, CP6, CP7, CP8, CP9, CP10, CP11 and CP12 of the Core Strategy (adopted October 2011), and Policies DM2, DM3, DM4, DM6, DM7, DM9, DM10, DM11, DM12,  DM13 and Appendix 5 of the Development Management Policies LDD (adopted July 2013).

C3	Before any building operations above ground level hereby permitted are commenced, samples and details of the proposed external materials including for hard surfacing shall be submitted to and approved in writing by the Local Planning Authority and no external materials shall be used other than those approved.

Reason: To prevent the building being constructed in inappropriate materials in accordance with Policies CP1 and CP12 of the Core Strategy (adopted October 2011) and Policy DM3 of the Development Management Policies LDD (adopted July 2013).

C4	No development shall take place until full details of all proposed construction vehicle access, movements, parking arrangements, dust control and construction wheel washing facilities have been submitted to and approved in writing by the Local Planning Authority. The relevant details should be submitted in the form of a Construction Management Plan. The approved details shall be adhered to throughout the construction period.

Reason: This is a pre commencement condition in order to minimise danger, obstruction and inconvenience to users of the highway in accordance with Policies CP1 and CP10 of the Core Strategy (adopted October 2011).

C5	No development shall take place until details of the proposed access arrangements onto the existing highway network have been submitted to and approved in writing by the Local Planning Authority. The details shall include all pavement, kerbing, footway, drainage and street lighting works adjacent to the existing highway boundaries to deliver safe vehicular and pedestrian movements between the site and the main road network. The access shall be constructed in accordance with the approved details prior to occupation of the development hereby permitted.

Reason: This is a pre commencement condition in order to minimise danger, obstruction and inconvenience to users of the highway in accordance with Policies CP1 and CP10 of the Core Strategy (adopted October 2011) and Policy DM13 and Appendix 5 of the Development Management Policies LDD (adopted July 2013).

C6	No development shall take place until details of the proposed areas and treatments of adoptable highway (including the identification of appropriate kerbing and tactile paving layouts) to deliver a safe pedestrian crossing route on the proposed access shall be submitted to and approved by the Local Planning Authority. The areas and construction details appropriate to all areas proposed as adoptable highway are also required to be identified and approved. The development shall be carried out in accordance with the approved details and shall not be occupied until those works have been completed and all of the areas approved as adoptable highway have been dedicated as public highway.

Reason: This is a pre commencement condition in order to minimise danger, obstruction and inconvenience to users of the highway in accordance with Policies CP1 and CP10 of the Core Strategy (adopted October 2011) and Policy DM13 and Appendix 5 of the Development Management Policies LDD (adopted July 2013).

C7	No development shall take place (including demolition, ground works, vegetation clearance) until a Construction Environmental Management Plan (CEMP: Biodiversity) has been submitted to and approved in writing by the local planning authority. The CEMP (Biodiversity) shall include the following.

A) Risk assessment of potentially damaging construction activities.

B) Identification of “biodiversity protection zones”.

C) Practical measures (both physical measures and sensitive working practices) to avoid or reduce impacts during construction (may be provided as a set of method statements) including on waterway infrastructure.

D) The location and timings of sensitive works to avoid harm to biodiversity features.

E) The times during which construction when specialist ecologists need to be present on site to oversee works.

F) Responsible persons and lines of communication.

G) The role and responsibilities on site of an ecological clerk of works (ECoW) or similarly competent person.

H) Use of protective fences, exclusion barrios and warning signs if applicable.

The approved CEMP shall be ahead to and implemented throughout the construction period in accordance with the approved details.

Reason: This is a pre commencement condition in the interests of safeguarding protected species and to meet the requirements of Policies CP1 and CP9 of the Core Strategy (adopted October 2011) and Policies DM6 and DM9 of the Development Management Policies LDD (adopted July 2013).

C8	No development shall take place until evidence in writing has been provided to the Local Planning Authority demonstrating that there is agreement regarding alternative accommodation of boaters’ car parking spaces lawfully, permanently and without restriction and the Local Planning Authority has confirmed in writing its receipt of such evidence establishing that provision.

Reason: To ensure appropriate parking provision in accordance with Policies CP1, CP10 and CP12 of the Core Strategy (adopted October 2011) and Policy DM13 and Appendix 5 of the Development Management Policies LDD (adopted July 2013).

C9	Prior to the commencement of development, including any demolition, a Site Waste Management Plan (SWMP) shall be submitted to and approved in writing by the Local Planning Authority.  The SWMP should aim to reduce the amount of waste being produced on site and should contain information including types of waste removed from the site and where that waste is being taken to.  The development shall be carried out in accordance with the approved SWMP.

Reason: This is a pre commencement condition to promote sustainable development and meet the requirements of Policy CP1 of the Core Strategy (adopted October 2011), Policy DM10 of the Development Management Policies LDD (adopted July 2013) and Policy 12 of the adopted Hertfordshire County Council Waste Core Strategy and Development Management Policies Development Plan Document (2012).

C10	Notwithstanding the submitted details, no development shall take place until there has been submitted to and approved in writing by the Local Planning Authority a scheme detailing the phasing of the construction of the development including timescales for demolition of existing structures and provision of the proposed site access. The development shall be carried out in accordance with the details approved.

Reason: This is a pre commencement condition to secure an orderly development and in the interests of the amenity of the area in accordance with Policies CP1,

C11	No development shall take place until a detailed surface water drainage scheme for the site based on the approved Flood Risk Assessment and Drainage Strategy Statement and sustainable drainage principles and an assessment of the hydrological and hydro geological context of the development, has been submitted to and approved in writing by the local planning authority. The drainage strategy should demonstrate the surface water run-off generated up to and including 1 in 100 year + climate change critical storm will not exceed the run-off from the undeveloped site following the corresponding rainfall event. The scheme shall subsequently be implemented in accordance with the approved details before the development is completed.

Final, detailed drainage plan including location of SuDS measures, pipe runs and discharge point.

- Final, detailed engineered drawings of the proposed SuDS features including their size, volume, depth and any inlet and outlet features including any connecting pipe runs.

- Final detailed management plan to include arrangements for adoption and any other arrangements to secure the operation of the scheme throughout its lifetime.

Reason: This is a pre commencement condition to prevent pollution of the water environment and provide a sustainable system of water drainage and management to meet the requirements of Policy CP1 of the Core Strategy (adopted October 2011) and Policies DM8 and DM9 of the Development Management Policies LDD (adopted July 2013).

C12	Prior to the commencement of development approved by this planning permission, a scheme to deal with the risks associated with contamination of the site shall be submitted to and approved in writing by the Local Planning Authority. That scheme shall include all of the following elements unless specifically excluded in writing by the Local Planning Authority:

i) A desk study identifying:

- All previous uses.

- Potential contaminants associated with those uses.

- A conceptual model of the site indicating sources, pathways and receptors.

- Potentially unacceptable risks arising from contamination at the site.

ii) A site investigation scheme based on (i) to provide information for an assessment of the risk to all receptors that may be affected including those off site.

iii) The results of the site investigation and risk assessment (ii) and a method statement based on those results giving full details of the remediation measures required and how they are to be undertaken.

iv) A verification report on completion of the works set out in (iii) confirming the remediation measures that have been undertaken in accordance with the method statement and setting out measures for maintenance, further monitoring and reporting.

Any changes to these agreed elements require the express consent of the Local Planning Authority.

Reason: This condition is a  pre commencement condition to ensure that the proposed development will not cause pollution of the environment or harm to human health, in accordance with Policy CP1 of the Core Strategy (adopted October 2011) and Policy DM9 of the Development Management Policies LDD (adopted July 2013).

C13	If during development, contamination not previously identified is found to be present at the site, then no further development shall be carried out until the developer has submitted and obtained written approval from the Local Planning Authority for an amendment to the Method Statement detailing how this unsuspected contamination shall be dealt with. The development shall be carried out in accordance with the approved details.

Reason: To ensure that the proposed development will not cause pollution of the environment or harm to human health, in accordance with Policy CP1 of the Core Strategy (adopted October 2011) and Policy DM9 of the Development Management Policies LDD (adopted July 2013).

C14	No piling shall take place until a piling method statement (detailing the depth and type of piling to be undertaken and the methodology by which such piling will be carried out, including measures to prevent and minimise the potential for damage to subsurface sewerage infrastructure, and the programme for the works) has been submitted to and approved in writing by the local planning authority in consultation with Thames Water.  Any piling must be undertaken in accordance with the terms of the approved piling method statement.

Reason: To protect the water environment, including groundwater, and underground infrastructure in accordance with Policies CP1 and CP8 of the Core Strategy (adopted October 2011) and Policies DM9 and DM10 of the Development Management Policies LDD (adopted July 2013).

C15	Notwithstanding the details on the approved plans, no development in relation to the proposed refuse and recycling provision for the development shall take place until a scheme for the separate storage and collection of waste has been submitted to and approved in writing by the Local Planning Authority. Details shall include the siting, size and appearance of refuse and recycling facilities on the premises. The development hereby permitted shall not be occupied until the approved scheme has been implemented and these facilities should be retained permanently thereafter.

Reason: To ensure that satisfactory provision is made, in the interests of amenity and to ensure that the visual appearance of such provision is satisfactory in compliance with Policies CP1 and CP12 of the Core Strategy (adopted October 2011) and Policy DM10 of the Development Management Policies LDD (adopted July 2013).

C16	Notwithstanding the details on the approved plans, no development in relation to the proposed substation shall take place until details of any fencing / enclosures and noise levels for the substation, along with any required noise attenuation measures have been submitted to and agreed in writing by the Local Planning Authority. The substation shall be implemented in accordance with the approved details and permanently retained as such.

Reason: In the interest of visual and residential amenity in accordance with Policies CP1 and CP12 of the Core Strategy (adopted October 2011) and Policy DM9 of the Development Management Policies LDD (adopted July 2013).

C17	No construction above ground level shall take place until plans and details of the proposed air source heat pump have been submitted to and approved in writing by the Local Planning Authority. The development shall be carried out in accordance with the approved details and the submitted Sustainable Energy Strategy Report prepared by Hodkinson and dated 30 November 2016 prior to occupation of the development hereby permitted.

Reason: To ensure that the development meets the requirements of Policy CP1 of the Core Strategy (adopted October 2011) and Policy DM4 of the Development Management Policies LDD (adopted July 2013) and to make as full a contribution to sustainable development as possible.

C18	No construction above ground level shall take place until there has been submitted to and approved in writing by the Local Planning Authority a plan indicating the positions, design, materials and type of boundary treatment to be provided to include dense close boarded fence to the north east of the site. The boundary treatment shall be erected prior to occupation and maintained in accordance with the approved details permanently thereafter.

Reason: To safeguard the amenities of neighbouring properties and the character of the locality in accordance with Policies CP1 and CP12 of the Core Strategy (adopted October 2011) and Policy DM9 of the Development Management Policies LDD (adopted July 2013).

C19	Notwithstanding the submitted details, no development above ground level shall take place until there has been submitted to and approved in writing by the Local Planning Authority a scheme of hard and soft landscaping, which shall include the location of all existing trees and hedgerows affected by the proposed development and details of those to be retained and a programme for all required soft landscaping works.

All hard landscaping works required by the approved scheme shall be carried out and completed prior to the first occupation of the development hereby permitted. All soft landscaping works required by the approved scheme shall be carried out in accordance with the agreed programme and shall be maintained including the replacement of any trees or plants which die are removed or become seriously damaged or diseased in the next planting season with others of a similar size or species for a period for five years from the date of the approved scheme was completed.

Reason: In the interests of visual amenity and biodiversity in accordance with Policies CP1, CP9 and CP12 of the Core Strategy (adopted October 2011) and Policy DM6 of the Development Management Policies LDD (adopted July 2013).

C20	A landscape management plan, including long term design objectives, management responsibilities, timescales and maintenance schedules for all landscape areas, shall be submitted to and approved in writing by the Local Planning Authority prior to the first occupation of the development hereby approved. The landscape management plan shall be carried out as approved.

Reason: In order to ensure that the approved landscaping is satisfactorily maintained, in accordance with Policies CP1 and CP12 of the Core Strategy (adopted October 2011) and Policy DM6 of the Development Management Policies LDD (adopted July 2013).

C21	Prior to the first occupation of the building an updated 'Green Travel Plan' with the objectives of reducing journeys to and from the site by private car shall be submitted to and approved by the Local Planning Authority. This approved Green Travel Plan shall be implemented on first occupation of the building. An updated Green Travel Plan shall be submitted to the Local Planning Authority for written approval on the anniversary of the 1st year of occupation and subsequently on the 3rd anniversary of occupation. The updated Green Travel Plan shall be implemented following its written approval.

Reason: To promote sustainable modes of transport and to meet the requirements of Policies CP1 and CP10 of the Core Strategy (adopted October 2011).

C22	Prior to first occupation of the development hereby permitted, a “lighting design strategy for biodiversity” covering features or areas to be lit shall be submitted to and approved in writing by the local planning authority. The strategy shall:

a) Identify those areas/features on site that are particularly sensitive for nocturnal species and that are likely to cause disturbance in or around their breeding sites and resting places or along important routes used to access key areas of their territory, for example, for foraging; and

b) show how and where external lighting will be installed (through the provision of appropriate lighting contour plans and technical specification) so that it can be clearly demonstrated that areas to be lit will not disturb or prevent the above species using their territory or having access to their breeding sites and resting places.

All external lighting shall be installed in accordance with the specifications and locations set out in the strategy, and these shall be maintained thereafter in accordance with the strategy.

Reason: In the interests of safeguarding protected species and to meet the requirements of Policies CP1 and CP9 of the Core Strategy (adopted October 2011) and Policy DM6 of the Development Management Policies LDD (adopted July 2013).

C23	A parking management plan, including details of the allocation and management of vehicle parking spaces and cycle storage spaces within the development; and long term management responsibilities and maintenance schedules for all communal parking areas, together with measures to manage unauthorised waiting and parking within the site including signage and enforcement as necessary shall be submitted to and approved in writing by the Local Planning Authority prior to the first occupation of the development hereby approved. The parking management plan shall be carried out in accordance with the approved details.

Reason: To ensure that adequate off-street parking and manoeuvring space is provided within the development so as not to prejudice the free flow of traffic and in the interests of highway safety on neighbouring highways in accordance with Policies CP1, CP10 and CP12 of the Core Strategy (adopted October 2011) and Policy DM13 and Appendix 5 of the Development Management Policies LDD (adopted July 2013).

C24	Before the first occupation of the hotel hereby permitted, details of the proposed louvres to the south flank as indicated on approved plans 0757-01-162-S1-P12, 0757-01-163-S1-P12, 0757-01-164-S1-P13, 0757-01-167-S1-P10 and 0757-01-sk156-S1-P1 to include their spacing and angle shall be submitted to and approved in writing by the Local Planning Authority. The louvres shall be implemented prior to occupation in accordance with the approved details, and maintained as such thereafter.

Reason: To safeguard the amenities of the occupiers of neighbouring residential properties in accordance with Policies CP1 and CP12 of the Core Strategy (adopted October 2011).

C25	The development shall not be occupied until a detailed Delivery and Servicing Plan for the development has been submitted to and approved in writing by the Local Planning Authority. The approved Delivery and Servicing Plan shall be implemented upon first occupation and adhered to thereafter. The Statement shall include:

1.	details of the delivery and servicing requirements (including refuse collection) for the proposed uses;

2.	a scheme for coordinating deliveries and servicing for the proposed development;

3.	areas within the development site that will be used for loading and manoeuvring of delivery and servicing vehicles;

4.	access to / from the site for delivery and servicing vehicles and details of routing;

5.	restrictions on the timing of deliveries so that they principally occur outside peak periods of activity;

6.	details of marshalling and a vehicle booking system for the builders’ merchant;

Reason: In the interests of residential amenity and highway safety and convenience in accordance with Policies CP1, CP10 and CP12 of the Core Strategy (adopted October 2011) and Policy DM9 of the Development Management Policies LDD (adopted July 2013).

C26	The development shall not be occupied until the noise attenuation measures to be installed in the development, as detailed in the submitted Report on Existing Noise Climate prepared by Hoare LEA dated August 2016 have been implemented. Such works shall be retained thereafter at all times.

Reason: To safeguard the residential amenities of the occupiers of neighbouring properties in accordance with Policies CP1 and CP12 of the Core Strategy (adopted October 2011) and Policy DM9 of the

C27	Prior to first occupation of the development hereby permitted, details of all plant, machinery and equipment to be installed or operated in connection with the carrying out of this permission and measures to enclose these and/or attenuate noise arising from their operation such that it does not exceed at any time a level of 5dB (A) below the lowest measured background noise when measured at a distance of 1 metre away from the boundary of the site shall be submitted to and approved in writing by the Local Planning Authority and shall include predicted plant noise and existing background noise conditions. The approved measures shall be implemented prior to occupation of the development and shall be permanently maintained in accordance with the approved details thereafter.

Reason: To safeguard the residential amenities of the occupiers of neighbouring properties in accordance with Policies CP1 and CP12 of the Core Strategy (adopted October 2011) and Policy DM9 of the

C28	Prior to first occupation of the development hereby permitted, details of suitable plant to suppress and disburse fumes and/or smell created from the use hereby approved shall be submitted to and approved in writing by the Local Planning Authority. The equipment shall be installed in full working order in accordance with the approved details prior to the commencement of the use and shall be effectively operated and maintained in accordance with the manufacturer's instructions for so long as the use continues.

Reason: To ensure that no nuisance or disturbance is caused to the occupiers of neighbouring properties and to meet the requirements of Policies CP1 and CP12 of the Core Strategy (adopted October 2011) and Policy DM9 of the Development Management Policies LDD (adopted July 2013).

C29	Prior to first occupation of the development hereby permitted, details of security measures including CCTV shall be submitted to and approved in writing by the Local Planning Authority. The measures shall be installed in accordance with the approved details prior to occupation of the development.

Reason: In the interests of designing out opportunities for crime and anti-social behaviour and in accordance with Policies CP1 and CP12 of the Core Strategy (adopted October 2011).

C30	No operations (including tree felling, pruning, demolition works, soil moving, temporary access construction, or any other operation involving the use of motorised vehicles or construction machinery) shall take place on site in connection with the development hereby approved unless the branch structure and trunks of all trees shown to be retained and all other trees not indicated as to be removed and their root systems have been protected from any damage during site works, in accordance with the Tree Protection Scheme approved within the submitted Arboricultural Planning Statement prepared by ADAS and dated November 2016 and the enclosed Tree Protection Plan RPM001/PE-CS14/TQCP.

The protective measures, including fencing, shall be undertaken in accordance with the approved scheme before any equipment, machinery or materials are brought on to the site for the purposes of development, and shall be maintained until all equipment, machinery and surplus materials have been removed from the site.  Nothing shall be stored or placed within any area fenced in accordance with this condition and the ground levels within those areas shall not be altered, nor shall any excavation be made. No fires shall be lit or liquids disposed of within 10.0m of an area designated as being fenced off or otherwise protected in the approved scheme.

Reason: To protect the visual amenities of the trees, area and to meet the requirements of Policies CP1 and CP12 of the Core Strategy (adopted October 2011) and Policy DM6 of the Development Management Policies LDD (adopted July 2013).

C31	The development permitted by this planning permission shall be carried out in accordance with the approved surface water drainage assessment carried out by Conisbee, with reference no. 140060/DW, version 1.4, dated 03 May 2017 and the following mitigation measures detailed within the FRA:

- Providing attenuation to ensure no increase in surface water run-off volumes for all rainfall events up to and including the 1 in 100 year + climate change event.

- Undertake the drainage as indicated on drawing titled ‘Surface Water drainage Strategy’, drawing no. C1010, revision PL3.

- Implement appropriate drainage strategy based on attenuation and discharge into Thames surface water sewer.

The mitigation measures shall be fully implemented prior to occupation and subsequently in accordance with the timing / phasing arrangements embodied within the scheme, or within any other period as may subsequently be agreed, in writing, by the local planning authority.

Reason: To prevent pollution of the water environment and provide a sustainable system of water drainage and management to meet the requirements of Policy CP1 of the Core Strategy (adopted October 2011) and Policies DM8 and DM9 of the Development Management Policies LDD (adopted July 2013).

C32	The development shall be implemented in accordance with the Sustainable Drainage Maintenance Strategy 1.1 prepared by Conisbee and dated 13 April 2017 prior to occupation of the development and shall thereafter be managed and maintained.

Reason: To prevent pollution of the water environment and provide a sustainable system of water drainage and management to meet the requirements of Policy CP1 of the Core Strategy (adopted October 2011) and Policies DM8 and DM9 of the Development Management Policies LDD (adopted July 2013).

C33	The development hereby permitted shall be carried out and maintained in accordance with the approved Flood Risk Assessment (prepared by Ramboll Environ dated December 2016) and Flood Risk Assessment Additional Information (prepared by Ramboll Environ dated 17 March 2017) and mitigation measures shall be fully implemented prior to first occupation of the development hereby permitted.

Reason: To prevent flooding by ensuring the satisfactory storage of and disposal of surface water from the site in accordance with Policy CP1 of the Core Strategy (adopted October 2011) and Policies DM8 and DM9 of the Development Management Policies LDD (adopted July 2013).

C34	All site works shall be carried out in accordance with the recommendations in the Ground Investigation Report prepared by RSA Geotechnics Ltd and dated April 2016. No piling or any other foundation designs using penetrative methods shall be undertaken other than with the written consent of the Local Planning Authority, which may be given where it has been demonstrated that there is no resultant unacceptable risk to groundwater. The development shall be carried out in accordance with the approved details.

Reason: To protect the water environment, including groundwater, in accordance with Policies CP1 and CP12 of the Core Strategy (adopted October 2011) and Policy DM9 of the Development Management Policies LDD (adopted July 2013).

C35	The parking and turning spaces shall be constructed in accordance with the approved plans prior to the first occupation of any part of the development hereby permitted. The parking and turning spaces shall thereafter be kept permanently available for the use of employees, guests and visitors to the site.

Reason: To ensure that adequate off-street parking and manoeuvring space is provided within the development so as not to prejudice the free flow of traffic and in the interests of highway safety on neighbouring highways in accordance with Policies CP1, CP10 and CP12 of the Core Strategy (adopted October 2011) and Policy DM13 and Appendix 5 of the Development Management Policies LDD (adopted July 2013).

C36	The restaurant and bar areas as identified on drawing 0757-01-161-S1-P15 shall not be used or open to customers other than hotel resident guests.

Reason: To safeguard the amenities of the occupiers of neighbouring properties and with regard to parking provision to serve the development in accordance with Policies CP1, CP7, CP10 and CP12 of the Core Strategy (adopted October 2011) and Policies DM9, DM13 and Appendix 5 of the Development Management Policies LDD (adopted July 2013).

C37	The builder’s merchant use hereby permitted shall not operate other than between the hours 07:00-17:00 Monday to Friday and 07:00-13:00 Saturdays and shall not operate at all on Sundays or Bank Holidays.

Reason: To safeguard the residential amenities of the occupiers of neighbouring properties in accordance with Policies CP1 and CP12 of the Core Strategy (adopted October 2011) and Policy DM9 of the Development Management Policies LDD (adopted July 2013).

C38	No machinery or commercial vehicles shall be operated, no process shall be carried out nor any deliveries taken or dispatched from the site otherwise than between the hours of 06:00-18:00 Monday to Friday and 06:00-13:00 Saturdays and shall not operate at all on Sundays or Bank Holidays.

Reason: To safeguard the residential amenities of the occupiers of neighbouring properties in accordance with Policies CP1 and CP12 of the Core Strategy (adopted October 2011) and Policy DM9 of the Development Management Policies LDD (adopted July 2013).

C39	The rooflights hereby permitted to the builder’s merchant hall be positioned at a minimum internal cill height of 1.7m above the internal floor level and shall be permanently maintained as such thereafter.

Reason: To safeguard the amenities of the occupiers of neighbouring residential properties in accordance with Policies CP1 and CP12 of the Core Strategy (adopted October 2011).

C40	Should they be required, detailed proposals for fire hydrants serving the development as incorporated into the provision of the mains water services for the development, whether by means of existing water services or new mains or extension to or diversion of existing services or apparatus, shall be submitted to and approved in writing by the Local Planning Authority prior to the occupation of development. The development shall thereafter be implemented in accordance with the approved details prior to occupation of any building forming part of the development.

Reason: To ensure that there is adequate capacity for fire hydrants to be provided and to meet the requirements of Policies CP1 and CP8 of the Core Strategy (adopted October 2011).

  - Informatives

I1	With regard to implementing this permission, the applicant is advised as follows:

All relevant planning conditions must be discharged prior to the commencement of work. Requests to discharge conditions must be made by formal application. Fees are £97 per request (or £28 where the related permission is for extending or altering a dwellinghouse or other development in the curtilage of a dwellinghouse). Please note that requests made without the appropriate fee will be returned unanswered.

There may be a requirement for the approved development to comply with the Building Regulations. The Council's Building Control section can be contacted on telephone number 01923 727132 or at www.threerivers.gov.uk for more information and application forms.

Community Infrastructure Levy (CIL) - If your development is liable for CIL payments, it is a requirement under Regulation 67 (1) of The Community Infrastructure Levy Regulations 2010 (As Amended) that a Commencement Notice (Form 6) is submitted to Three Rivers District Council as the Collecting Authority no later than the day before the day on which the chargeable development is to be commenced. DO NOT start your development until the Council has acknowledged receipt of the Commencement Notice. Failure to do so will mean you will lose the right to payment by instalments (where applicable), lose any exemptions already granted, and a surcharge will be imposed.

Care  should  be  taken  during  the  building  works  hereby  approved  to  ensure  no  damage occurs to the verge or footpaths during construction. Vehicles delivering materials to this development shall not override or cause damage to the public footway. Any damage will require to be made good to the satisfaction of the Council and at the applicant's expense.

Where possible, energy saving and water harvesting measures should be incorporated. Information on this is also available from the Council's Building Control section. Any external changes to the building which may be subsequently required should be discussed with the Council's Development Management Section prior to the commencement of work.

I2	The applicant is reminded that the Control of Pollution Act 1974 stipulates that construction activity (where work is audible at the site boundary) should be restricted to 0800 to 1800 Monday to Friday, 0900 to 1300 on Saturdays and not at all on Sundays and Bank Holidays.

I3	Under the terms of the Water Resources Act 1991, and the Thames Land Drainage Byelaws 1981, the prior consent of the Environment Agency is required for any proposed works or structures, in, under, over or within 8 metres of the top of the bank of the River Chess, designated a ‘main river’. From 6th April 2016, the Flood Defence Consent regime moved into the Environmental Permitting Regulations to become Flood Risk Activity Permits. The charges for the new Permits are different and some lower risk activities may be Excluded or Exempt from the Permitting Regulations. Please contact the Environment Agency for more details.

I4	With regard to condition C28 the Hertfordshire Constabulary Crime Prevention and Design Advisor has provided the following advice for the provision of CCTV:

CCTV cameras:

- CCTV cameras should cover all external cycle parking areas as well as all vehicle parking areas, and the vehicle entrance and exit.

- CCTV cameras should cover the vehicle parking area to a general observation category so as to deter crime in this area.

CCTV system

- Such CCTV recording medium must be a DVD best quality digital system that records for a minimum of 31 days before overwriting; the recording system that will be installed has its own software for playing back the CCTV on the DVD disk (that software needs to go on each playback disc, so that it is possible to replay the disc immediately).  That CCTV cameras record at a minimum frame rate of 8 frames per second (FPS) or higher.  Whilst the minimum frame rate of 8 frames per second is quoted, it may need to be higher to capture driving through the field of view (FOV) of the camera at the vehicle entrance and exit and may need to increase to 12 FPS.

- The CCTV system should have a clock and date that are displayed on any clip viewed.  The system clock and date should be set correctly and maintained (taking account of GMT and BST).  When images are downloaded onto a disc or other medium for police purposes, it needs to be with the time and date integral to the relevant picture.

- The CCTV storage system should be operated and recorded pictures retained in a secure area.

- The playback software should have: variable speed control including frame by frame, forward and reverse viewing; be able to display single and multiple cameras and maintain aspect ratio (i.e., the same relative height and width); be able to display a single camera at full resolution; permit the recording from each camera to be searched by time and date.

I4	With regard to condition C18 the applicant is advised that planting proposed as part of the landscaping scheme should consist of appropriate native species to maximise ecological gains, particularly adjacent to the river

I5	The applicant is advised that adjacent footpaths should be protected to a minimum width of 2m and their current surface condition maintained. The footpaths should remain unobstructed by vehicles, machinery, materials, tools and any other aspects of construction during works. The safety of the public using the route should be paramount.

I6	The applicant is advised that Advertisement Consent is likely to be required for the proposed signage within the site.

I7	The Developer is advised to contact the Canal & River Trusts’ Third Party Works Engineer on 01908 302 591 in order to ensure that the proposal complies with the Trusts’ Code of Practice for Works affecting a waterway’.

I8	The applicant is advised that in order to comply with this permission it will be necessary for the developer of the site to enter into an agreement with Hertfordshire County Council as Highway Authority under Section 278 of the Highways Act 1980 to ensure the satisfactory completion of the access and associated road improvements.

The construction of such works must be undertaken to the satisfaction and specification of the Highway Authority, and by a contractor who is authorised to work in the public highway. Before works commence the applicant will need to apply to the Highway Authority to obtain their permission and requirements. Further information is available via the website http://www.hertfordshire.gov.uk/services/transtreets/highways/ or by telephoning 0300 1234047.

I9	The applicant is advised that Hertfordshire County Council as Highway Authority proposes to adopt the western end of the access road as part of the highway maintainable at the public expense. Details of the specification, layout and width of the said highway are to be submitted to the Highway Authority. No development shall commence until the details have been approved in writing and an Agreement made under Section 38 of the Highways Act 1980 is in place. The extent of adoption as public highway must be clearly illustrated on a plan. Further information is available via the website

http://www.hertfordshire.gov.uk/services/transtreets/highways/ or by telephoning 0300 1234047.

I10	Thames Water have advised that a Trade Effluent Consent will be required for any Effluent discharge other than a 'Domestic Discharge'. Any discharge without this consent is illegal and may result in prosecution. (Domestic usage for example includes - toilets, showers, washbasins, baths, private swimming pools and canteens). Typical Trade Effluent processes include: - Laundrette/Laundry, PCB manufacture, commercial swimming pools, photographic/printing, food preparation, abattoir, farm wastes, vehicle washing, metal plating/finishing, cattle market wash down, chemical manufacture, treated cooling water and any other process which produces contaminated water. Pre-treatment, separate metering, sampling access etc., may be required before the Company can give its consent. Applications should be made at

http://www.thameswater.co.uk/business/9993.htm or alternatively to Waste Water Quality, Crossness STW, Belvedere Road, Abbeywood, London. SE2 9AQ. Telephone: 020 3577 9200.

Thames Water would recommend that petrol / oil interceptors be fitted in all car parking/washing/repair facilities. Failure to enforce the effective use of petrol / oil interceptors could result in oil-polluted discharges entering local watercourses.

"A Groundwater Risk Management Permit from Thames Water will be required for discharging groundwater into a public sewer. Any discharge made without a permit is deemed illegal and may result in prosecution under the provisions of the Water Industry Act 1991. We would expect the developer to demonstrate what measures he will undertake to minimise groundwater discharges into the public sewer.  Permit enquiries should be directed to Thames Water's Risk Management Team by telephoning 02035779483 or by emailing wwqriskmanagement@thameswater.co.uk. Application forms should be completed on line via www.thameswater.co.uk/wastewaterquality."

I11	The Local Planning Authority has been positive and proactive in its consideration of this planning application, in line with the requirements of the National Planning Policy Framework and in accordance with the Town and Country Planning (Development Management Procedure) (England) Order 2015. The applicant and the Local Planning Authority engaged in pre-application discussions and the Local Planning Authority suggested modifications to the development during the course of the application and the applicant submitted amendments which result in a form of development that maintains/improves the economic, social and environmental conditions of the District.